- SAFETY MANUAL

July 2021

- Hazard Symbols: In use to 2015

| Highly flammable liquids (flash point below 21C) |  |
| --- | --- |
| Corrosive substances |  |
| Oxidising substances |  |
| Explosive substances |  |
| Toxic substances |  |
| Harmful substances |  |
| Irritant substances |  |

Sample Set of New International COSHH Symbols : In use now and will replace older symbols completely from 2015

Corrosive										 Explosives

Acute toxicity

Gases under pressure

Caution

Longer term health hazards

Oxidising

Flammable

Hazardous to the environment

Radio active

- SCHOOL OF CHEMISTRY SAFETY MANUAL

CONTENTS									PAGE

ACCIDENTS AND EMERGENCIES TELEPHONE NUMBERS				9

FOREWORD									10

- SAFETY ORGANISATION

POLICY STATEMENT								12

SAFETY MANAGEMENT STRUCTURE						13

ORGANISATION AND ARRANGEMENTS						14

- EMERGENCIES

FIRE										17

Extinguishers								18

Discovering a fire							19

Emergency Evacuation							19

Fire Precautions							19

CASUALTIES									20

Reporting Accidents or Incidents				        20, 21

- RISK ASSESSMENT									21

- CONTROL OF SUBSTANCES HAZARDOUS TO HEALTH (COSHH)

- REGULATIONS										24

Implementation of COSHH Regulations					24

Training Needs Analysis							25

Substances								25

Assessment and Documentation					25

Risk Assessment Number						26

Action									26

- Lone Working Policy 							27

CONTROL MEASURES								27

Fume cupboards							27

Respiratory Protective Equipment					27

Air Monitoring								27

Health Monitoring							28

TOXIC HAZARD CLASSIFICATION							28

Very High Hazard							28

High Hazard								29

Medium Hazard								29

Low Hazard								30

EXPOSURE POTENTIAL								31

RISK ASSESSMENT SCORE 							32

EYE PROTECTION								33

ALLERGIES AND DERMATITIS							33

Latex Allergy								33

SOLVENTS									33

Flammable Solvents							33

Solvent Spills								33

WASTE DISPOSAL								34

General									34

Sharps and Broken Glass Bins						34

Waste Solvent								34

Waste Chemicals							35

WEEE									35

Biological Waste							35

Other Waste Streams 							35

CERTIFICATE OF COMPLETION							36

LEGAL RESTRICTIONS ON CHEMICAL WARFARE AGENTS				36

DRUG PRECURSORS LEGISLATION						37

UTILITIES									38

Maintenance								38

Workmen or Contractors in the School					38

Safety of Maintenance Personnel					38

Gas									38

Water									38

Electricity 								39

ELECTRICAL TESTING OF PORTABLE APPLIANCES					39

User Checks								40

FUMECUPBOARDS								41

CARCINOGENS, MUTAGENS AND TERATOGENS					41

PRESSURE SYSTEMS								42

Gas Cylinders								42

Lecture Bottles								43

Malfunction							44

Disposal							44

PRESSURE EQUIPMENT								44

Gases									44

Carius Tubes								45

Manufacture and Sealing					45

Opening							45

VACUUM SYSTEMS AND VACUUM DISTILLATION					46

LASERS										46

X-RAY SOURCES									47

BIOLOGICAL HAZARDS								47

VISITORS									48

NORMAL WORKING AND LATE WORKING REGULATIONS				48

OVERNIGHT OPERATIONS							49

CONTINUOUS OPERATIONS							51

SECURITY									52

RADIO/CASETTE PLAYERS							52

SAFETY PRECAUTIONS AND GOOD PRACTICE						52

STORAGE OF CHEMICALS							52

HANDLING CHEMICALS								53

Acids and Corrosive Materials						53

Alkali and Metal Hydrides						53

DRY SOLVENT STILLS								54

Alternative to solvent stills						54

COOLING BATHS								55

Dry Ice Baths								55

Liquid Nitrogen Baths							55

SOME SPECIFIC HAZARDS							56

Peroxides in Ethers and Other Solvents					56

Irritants and Lachrymators						56

Thiols and Stenches							56

Ozonolysis Reactions							57

Cyanides								57

Hydrofluoric Acid and Anhydrous Hydrogen Fluoride			57

Schedule 1 Poisons							57

Mercury								58

Dimethylmercury							58

Perchlorates and Perchloric Acid					58

Incompatible Chemicals							58

Reduction of nitro compounds						58

n-Hexane								58

Specialist Manuals							58

GOOD LABORATORY PRACTICE							58

Housekeeping	and General Advice					59

Labelling								60

More Common Sense Measures						60

LIFTING										63

HANDLING HEAVY LOADS							63

VISUAL DISPLAY UNITS								63

APPENDIX A - FIRST AIDERS								64

APPENDIX B - Exposure Limits								65

APPENDIX C - Glossary									66

APPENDIX D - Solvent MEL/OES Values							68

APPENDIX E - Laboratory Responsible Persons List					69

APPENDIX F - Schedule 1 Chemical Warfare Agents					70

APPENDIX G - Drug Precursor Legislation: Scheduled substances				71

APPENDIX H	- School Safety Declaration						72

APPENDIX I	- Safety Committee Membership					73

ACCIDENTS AND EMERGENCIES

IN THE EVENT OF AN EMERGENCY DIAL 4444

(24 hour cover)

During business hours the following sources of information are available:

- UNIVERSITY SAFETY OFFICERS

Safety and Environmental

Protection Services (ex. 5532)			Mr D. McLean (Deputy Director)		4678

Environmental Adviser/Waste Disposal		Dr S. Johnson 				5854

Senior Fire Safety Advser:			Mr Billy Russel				6109

Radiation Protection Officer:			Mr J.M. Gray				5878

Laser Safety Officer:				Mr JM Gray				5878

Chemicals Safety Adviser			Dr. P. Rodger				2799

Biological Safety Adviser:			Dr. A. Gallagher				2781

Occupational Health Unit Manager:		Ms Aileen Stewart			7171

Central Services										4282

Manager:				Mr Gerry Moore			0362

Security:				Mr Gary Stephen			2766

Out of hours contact with School/ Safety Personnel can be made by contacting the Security Office on Extension 4282 (from inside the University).

- FOREWORD

Under the Health and Safety at Work Act, 1974, the University and its employees have legal obligations to ensure that all work is carried out according to safe working practices. In particular, the act requires:

"Clause 7.	It shall be the duty of every employee while at work

(a)	to take all reasonable care for the health and safety of himself/herself and of other persons who may be affected by his/her acts or omissions at work; and

(b)	as regards any duty or requirement imposed by his employer or any other persons by or under any of the relevant statutory provisions, to co-operate with him so far as necessary to enable that duty or requirement to be performed or complied with.

Clause 8. 	No person shall intentionally or recklessly interfere with or misuse anything provided in the interest of health, safety or welfare in pursuance of any of the relevant statutory provisions."

Within the Universities, the spirit of the Health and Safety at Work Act is incorporated in the Committee of Vice-Chancellors and Principals of Universities in the U.K. document entitled "Code of Practice for Safety in Universities", which states that:

"It is the duty of students to take reasonable care for staff and other students, and anyone else they can reasonably foresee as likely to be affected by their negligence."

Section 6 of the Health and Safety at Work Act also requires that research workers who design equipment for use in the University are responsible for ensuring that the equipment is safe and without risks to health when properly used. If equipment or materials are ordered from outside suppliers, it is the duty of the research workers to ensure that adequate information about the safe use of the equipment, or details of any precautions to be observed, are obtained from the suppliers. (For postgraduate research students, these responsibilities rest with the supervisor.)

This Safety Manual outlines the minimum safety standards required by the School of Chemistry and draws attention to some of the hazards that can arise. It does NOT replace the need to take expert advice, to consult the relevant literature, or to design all work to minimise risk to yourself or other workers.

Safety depends on good working practices in such things as the handling, storage and disposal of chemicals, the use of protective equipment, design of experiments and equipment and proper care in the use of dangerous substances. The Control of Substances Hazardous to Health (COSHH) Regulations formalise this process and require that Written Risk Assessments are made BEFORE ANY WORK IS UNDERTAKEN.

Safety Policy is equally applicable to the environment and we as a School have a duty of care to minimise any impact our work may have on the environment. All risk assessments should include detail on the safe disposal of waste or surplus material, whether it is chemical, equipment or electrical.

Special Safety Procedures are required for work with Biological Hazards, Lasers, Radioactive Materials or X-rays and Specialist Advisers for each of these, whose names appear in the Safety Management Structure shown on p.10, and on p.13, are appointed. These advisers MUST be consulted before any work is undertaken in any of these areas.

It is a requirement of the School that, before undertaking any practical work, all postgraduate research students (i) undertake the School safety course; (ii) obtain a thorough understanding of all the various procedures detailed in this safety manual and (iii) pass the appropriate safety examination.

This Safety Manual should be kept available for consultation at all times and should be read in conjunction with the specialist texts which are available for consultation in the Safety Section of the Chemistry Branch Library.

Whilst, as Head of School, I carry ultimate responsibility for all aspects of safety within the School, clearly I cannot do this without the full co-operation of every member of the School in maintaining the highest safety standards in their particular area of work and this is an expectation of you.   Please do not hesitate to let me know at any point if you have any concerns etc.

Finally, we wish to acknowledge the help we have received from many UK sources in compiling this manual.

Professor Justin Hargreaves

(Head of School)

Policy Statement

The Health and Safety at Work Act, 1974, the object of which is to secure the health, safety and welfare of persons at work, came into force on 1st April, 1975. This Act seeks to unify and strengthen existing legislation relating to safety and may be regarded as an enabling Act which lends the force of law to safety regulations introduced in the workplace.

It is the Schools policy not only to comply fully with the Health and Safety at Work Act as required by law, but to act positively to prevent injury, ill-health, damage and loss arising from work carried out within its precincts.

Safety Policy is equally applicable to the environment and we as a School have a duty of care to minimise any impact our work may have on the environment. All risk assessments should include detail on the safe disposal of waste or surplus material, whether it is chemical, equipment or electrical.

It considers the promotion and management of the safety and health of all persons working in the School to be an essential part of the supervisory and academic staff's duties for which they are accountable at all levels. The School will seek to encourage all members of the School to participate in and contribute to the establishment and observance of safe working practices. However, the School expects all persons working within its precincts to recognise that equally there is a clear duty on them to exercise self-discipline and accept responsibility to do everything they can to prevent injury to themselves and others and loss to the School. Health and Safety must be given equal weight when determining the objectives of any work.

The Control of Substances Hazardous to Health Regulations, 2002 (COSHH) which came into force on 21st November 2002 apply in full to all work carried out in the School. The School expects all personnel to co-operate fully in carrying out the procedures required by these Regulations and in obeying the Rules of the School, arising from them.

In accord with the above policy the School of Chemistry will:

- Employ and provide resources to ensure competent advice on safety and health matters.

- Continue to develop and implement procedures and codes of safe working practice.

- Maintain systems for exchange of information with other chemistry schools and schools of chemistry for reporting and controlling safety performance and for monitoring and assessing health at work.

- Provide training in safe working methods.

- Maintain an appropriate framework for consultation on effective measures for continual development and the promotion of safety and health.

- Where practical, eliminate or minimise all potential risks to health.

- Prof. J. Hargreaves, Head of School

- SAFETY MANAGEMENT STRUCTURE

HEAD OF SCHOOL

Prof. J. Hargreaves

SCHOOL SAFETY COORDINATOR

Mr R Slavin

SCHOOL SAFETY COMMITTEE

TEACHING

Dr H. Moiras

TEACHING LABS

Mr R. Slavin

Chemical Biology & Medicinal Chemistry

Prof. A. Sutherland

Heterogeneous Catalysis

Prof. D. Lennon

LABORATORY RESPONSIBLE PERSONS

One per laboratory - see Appendix F

SPECIALIST SUBJECT ADVISERS

RADIATION (inc X-rays & lasers)	 Dr G. Hedley

BIOLOGICAL Dr A. Lapthorn

CHEMICAL	Dr P. Rodger

Complex Chemistry

Prof. L. Cronin

Chemical Photonics

Prof. M. Kadodwala

DEPUTY (& AFO)

Mr J. Liddell

Environmental Safety

Mr. F. Smith

Supramolecular Electronic & Magnetic Systems

Prof. M. Murrie

?

Principal Investigators

(all academic staff involved in research)

RESEARCH

Energy Conversion & Storage

Prof P. Skabara

ORGANISATION AND ARRANGEMENTS

Safety management structure within the school is outlined on the previous page. The line management structure runs from the Head of School to the Section Heads (plus a representative for teaching labs) to Laboratory Responsible Persons. From here responsibility passes to the individual experimenters or those who organise and run the undergraduate courses. It is emphasised that responsibility for safety and safe working includes all laboratory workers, from undergraduate and project students, through visitors to post-doctoral research associates.

In support of the management team, a secondary, advisory structure consisting of the Safety Coordinator, Specialist Subject Advisers and the School Safety Committee has been established.

- Head of School

The Head of School is responsible to the University Court for ensuring that safe working practices and conditions are adhered to at all times. He/she/they is responsible for ensuring that the University Safety Policy is implemented and that current safety legislation is obeyed.

- School Safety Coordinator

Specific duties are delegated on a day-to-day basis to the School Safety Coordinator, although responsibility must be retained by the Head of School. Specifically, the Safety Coordinator ensures that all safety control mechanisms are in place and that they are functioning correctly. The Safety Coordinator has the authority to stop any activity which is considered to be unsafe.

Safety training must be given to all post-graduate and undergraduate students, and will be arranged by Class Head, Section Head or Safety Coordinator as appropriate.

- Heads of Sections

Heads of Sections support the Head of School in ensuring that safety policy is known and complied with in all teaching and research activities within their jurisdiction.

- Laboratory Responsible Persons

These are appointed by the Head of School, with the agreement of the relevant Head of Section. They will normally be a member of the academic staff and will be responsible for safety matters in the laboratory or suite of laboratories which they will oversee. They should file (and have available for inspection) copies of the risk assessment forms relating to the work in their laboratories, and check from time to time that these records are kept up to date.

It is also their responsibility to ensure that information on safety and hazards in their laboratories is promulgated to all who need to know. Categories at particular risk are undergraduates, visitors and cleaners.

Laboratory Responsible Persons can insist that any activities he/she regards as unsafe are stopped and if necessary, call upon the Head of Section or, if he/she/they are not immediately available, the Head of School, to ensure compliance. The Laboratory Responsible Person will liaise with the Safety Coordinator to ensure that any remedial safety work (for example, to rectify unsafe situations uncovered during a safety inspection) is assigned to the appropriate person or persons, and to report to the Head of Section, any non-compliance.

(Copies of the risk assessment forms should normally be kept just inside the door of the laboratory. Any exceptions to this should be agreed with the Safety Coordinator. The central register of risk assessment forms is currently housed in room A4-04 and from year 2006 will be managed electronically.) A web-based Risk Assessment form is currently under development and will be available soon.

Appendix F lists the current laboratory Responsible Persons.

Principal Investigators (Supervisors)

PI’s are responsible for the safety and safe working of their group, ensuring that the group members are aware of and follow all School safety policies. They are also responsible for checking and signing off all group risk assessments/safe systems of work/SOPs and the appropriate training of post-graduates.

- Teaching Class heads

Teaching Class Heads are responsible for the choice and design of suitable experiments for their class. This will normally be done via staff members appointed to organise specific laboratory courses. It is expected that they will liaise with the Laboratory Responsible Person for the teaching labs (Mr R. Slavin), who is responsible for day-to-day safety matters within these labs.

Each class head must carefully check the undergraduate lab manuals for their class to ensure that every procedure is clearly and correctly detailed. This appears necessary in order to protect ourselves, both corporately and as individuals, from any foolish or illegal laboratory activities by any of our students.

- Staff

All members of staff (academic, academic related, technical, secretarial) are responsible for:-

- Demonstrating their personal concern with health and safety at work.

- Engaging the interest and commitment of all persons under their supervision to 	healthy and safe working practices.

- Requiring that School safety rules are obeyed.

- Ensuring that the necessary safety equipment is available and used.

- Where appropriate, instructing members of their research groups and technicians under their supervision in safe working practices.

- Where appropriate, nominating an alternative supervisor, who must be informed of the work in progress, during absences from the School of more than three working days.

- Specialist Subject Advisers

Dr. P. Rodger					Chemicals Safety Adviser

Dr. G. Hedley					Radiation Hazards Adviser

Dr A. Lapthorn					Biological Hazards Adviser

- Safety Committee

This committee is convened by the Head of School or his representative, and includes the Safety Coordinator, Specialist Subject Advisers, Area Fire Officer (AFO) and representatives of technical staff, post-doctoral research Assistants and research students. Its role is to advise the Head of School on safety issues and to monitor compliance with safety regulations. Its members may be called to make inspections. The committee meets on a regular basis to discuss safety issues and formulate safety policy.  Requests to bring matters concerning safety onto a meeting agenda can be made to the Safety Coordinator or any committee member.

A list of the current membership of the Safety Committee is to be found in appendix L

- Training of Research Workers

All post-graduate researchers are required to read this Safety Manual and to attend a series of safety lectures.

There is a procedure for safety training of short term placements/visitors.

A written exam will be set based on the manual and lectures or course material, and a successful outcome is required before practical work can commence.

- Demonstrations will be given in the correct use of various items of safety equipment.

- PhD students that demonstrate to undergraduate practicals are required to attend the Graduate Teaching Assistant training provided by the University, to attend subject specific training and practical demonstrations/run-throughs of experiments.

- Fire wardens

- Fire Wardens duties include the following:-

- Check "area clear" for the region you are in when the alarm sounds, and report this at the main door (Janitors' box)

- Insist that evacuees proceed swiftly to the designated muster points. Do not allow loitering in the roadways around the Joseph Black Building.

- Do not allow anyone to enter or re-enter the building until the "all clear" has been given by the Fire Officer.

- EMERGENCIES

(Emergency phone numbers are summarised on page 1. A list of trained first aiders is given in appendix A.)

The University Fire Safety Policy is located:

http://www.gla.ac.uk/services/seps/az/firesafety/

- FIRE

Before it happens, be familiar with the information on fire prevention and on fire-fighting. At an early opportunity, research workers must attend a training session in fire-fighting; these are held in the School when required.

Learn the location of fire alarms, fire blankets and extinguishers, especially in your own laboratory, before commencing work. Be prepared to use the extinguishers for small fires.

- Tackle the fire using extinguishers

There are several types of fire extinguishers available for use in the School; each has different properties.

Carbon Dioxide Extinguisher produces a high pressure stream of carbon dioxide gas which should be directed at the base of the fire. The gas depletes the fire of oxygen and also cools the source of the fire. It is regarded as the general purpose extinguisher for use in the laboratory.

Dry Powder Extinguisher releases a stream of talcum powder which is used to smother the fire.

Sand Bucket (normally red in colour). Dry sand is effective at smothering small fires caused by alkali metals or metal hydrides. Common practice is to have a polythene bag filled with sand beside you when there is a risk of this type of fire. When the bag is placed on the fire, the plastic melts thus releasing the sand to smother the fire.

- Fire Blanket. This is effective in smothering clothing fires.

Fires in fume cupboards are particularly dangerous as they are fanned by the extractor draught and can easily spread out of reach behind the baffles. They can be tackled in the appropriate way, but switch off the extract fan and close the sash to prevent spread of the blaze.

- If you discover a fire which cannot be easily controlled:

- Raise the alarm by breaking the glass of the nearest fire alarm call point (normally found at the ends of corridors, close to stairways and exits).

- Call the Fire Service. The fire alarm system automatically sends a signal to the Security Office and the Fire Service is contacted. Nevertheless, if a telephone is within reach, the person discovering the fire should ALSO call the Fire Service through the Security Office by dialling 4444 (on no account should 999 be used)

- Tackle the fire using extinguishers only if it is safe to do so. Do not over assess your ability to cope, and make sure you have a clear escape route. If attempts to extinguish the fire are proving unsuccessful, switch off fume cupboards (if safe to do so), close windows and doors and proceed to:

- Evacuate the premises by the nearest possible route. Do not use the lifts. All persons evacuated should muster at one of the following locations:

- University Place outside the OTC building or at the other side of the road

- The lane between Physics and the Bower Building

- The Physics car park facing Zoology

- Courtyard area at the GBRC

- AT ALL TIMES, ENSURE THAT ROADWAYS ARE FREE FROM 	OBSTRUCTION.

- EMERGENCY EVACUATION

Continuous sounding of the alarms will normally mean that there is a fire and that everyone must leave the building and assemble at the nearest muster point. There will be practice fire drills from time to time. Note that the alarm sirens will be tested, in short blasts, weekly during term each Thursday at 5 minutes to the hour, but at a different hour each week.

Staff, students or visitors with mobility impairment should make their way to a designated ‘Refuge’ area. These are on each landing of the main stairwells in B-wing. People should use the call points to summon assistance.

- FIRE PRECAUTIONS

- Do not wedge or prop open the smoke doors that safeguard staircases, or the fire separation doors in corridors. Keep access and escape routes clear.

- Know the location of fire alarm points and fire appliances.

- Report to the AFO, Mr J. Liddell any missing, damaged or used fire extinguishers.

- Do not allow wastepaper and combustible materials to accumulate.

- Do not use corridors or under stairways as storage areas.

- Observe the 'No Smoking' rules. The School of Chemistry is a no-smoking area.  Be careful with cigarettes and pipes. Always stub out and do not use the waste bin as an ashtray.

- Be aware of any specific fire hazards in your laboratory.

- CASUALTIES

Do not become a casualty by choice. If a toxic gas or vapour escapes into your laboratory in amounts large enough to cause discomfort or danger, GET OUT first and ask question afterwards.

First-aid treatment should be given on the spot, utilising the nearest first-aid box. Make sure that you know where the box closest to your laboratory is situated. Notify your nearest first-aider or emergency first-aider (Appendix A) immediately.

For more serious cases, contact one of the qualified first-aiders (Appendix A) who may instruct an ambulance to be called. For very urgent cases (for example, major burns, severe haemorrhage, cyanide poisoning) an ambulance should be called immediately by dialling 4444. Ensure that you identify yourself and the School/building. If calling from a mobile phone please use 0141 330 4444.

- Reporting Accidents

The proper recording of accidents is important. Such records help us to improve our safety arrangements and may be needed in the event of insurance claims or legal proceedings.

Trivial cuts and burns which can be adequately treated on the spot and do not cause the victim to cease work should still be reported. Written reports are required for ALL accidents causing personal injury serious enough to require medical attention. Report PERSONAL INJURIES on the accident report form, online version available from Safety & Environmental Services (SEPS). PROPERTY DAMAGE requires a brief signed and dated statement for which no special form need be used.

If the injured person cannot complete the form, the responsibility for reporting accidents lies with the most senior person present and uninjured, or, if there are no witnesses, with the first person to arrive on the spot.

Accident reports should be written without unnecessary delay and passed straight to the School Safety Coordinator, who will take care of further reporting to the SEPS.

- Reporting Incidents

Where an incident has occurred that was dangerous and could have caused injury, a University Dangerous Occurrence Form should be completed and if necessary, a written report should be made to the School Safety Coordinator. The School Safety Coordinator will pass on the relevant documentation and (where appropriate) risk assessment to SEPS.

Blood, Used Syringes, etc.

The University Safety and Environmental Protection Services have issued Health and Safety notice number 99/020, "Cleaning Body Fluid Spillages from Public Places including Disposal of Used Hypodermic Syringes and Needles."

If you discover such materials as blood or syringes in public places within the University grounds, the advice is that you should take steps to close off the site as far as is reasonable, and inform the Cleaning Services Manager who will detail appropriately-trained cleaning staff to attend as soon as possible. If such discoveries are made out of normal hours, contact Security, who will then contact the relevant cleaners.

You should NOT attempt to dispose of the materials and clean the site yourself.

# Risk Assessment

- Risk Assessment

The purpose of risk assessment is to help you identify the significant risks of your work to ensure that control measures are in place to protect people against harm so that the work can be carried out safely. The Health and Safety at Work Act and the Management of Health and Safety at Work Regulations require a suitable and sufficient assessment of the risks to the health and safety of workers to which they are exposed whilst at work and to others who might be affected by the work. You are legally required to assess the risks in your work so that you can put in place measures to control the risks. The law does not expect you to eliminate all risks but you are required to protect people as far as reasonably practicable by controlling the risks of your work. University policy requires that all units have robust systems in place to manage the risks associated with their activities and risk assessment and control are critical for this process. Current risk assessment & COSHH forms are available here;

https://www.gla.ac.uk/myglasgow/seps/az/chemical%20safety%20(revised)/formsandtemplates/

Hazards and Risks

It is important to understand the difference between hazard and risk. A hazard is anything which has the potential to cause harm. A risk is a combination of the likelihood and consequences of harm if actually exposed to the hazard.

Risk Assessment and Controls

Managers and principal investigators are responsible for ensuring that risk assessments are actually done, effective controls are established for the work and they are recorded, regularly monitored and reviewed where needed. The risk assessment should identify the hazards, decide who is at risk, assess the level of risks to people and establish suitable controls to ensure that the work can be done safely. Risk assessments must be carried out by competent persons and done before work starts. Remember that the objective of risk assessment is to enable you to control the risks of your work in actual practice.

Risk Assessment Form

To carry out your risk assessment you should first download a risk assessment form.
You should follow the HSE guidance on five steps to risk assessment which is described below and will help you carry out your risk assessment. You can if you wish use the action plan form to develop a formal plan from your risk assessment to record your decisions on how you will prioritise and implement your controls and who will be responsible for each of the actions.

HSE Five Steps to Risk Assessment

The Health and Safety Executive provide practical step by step guidance on its website on how to carry out a risk assessment together with supporting information and example risk assessments for all sorts of work.

Please read the following guidance on each step since it will help you understand how to best do your risk assessments and safely carry out the work.

- Step 1 Identify the hazards

- Step 2 Decide who might be harmed and how

- Step 3 Evaluate the risks and decide on precautions

- Step 4 Record your findings and implement them

- Step 5 Review your risk assessment and update if necessary

If you need any advice on risk assessments and controls then please first contact your safety coordinator who is there to advise you on all aspects of health and safety. Managers and safety coordinators can be obtain more detailed advice where necessary from SEPS.

Risk Assessments Must Be Suitable and Sufficient

Risk assessments have to be suitable and sufficient and as such must have a broad enough scope so that they identify and establish measures to protect against all significant risks not just the most obvious ones associated with the work. This will enable valid decisions to be made about what needs to be done to eliminate or adequately control the risks related to all aspects of the work including the routine and non routine work as well as any reasonably foreseeable emergencies where things may go wrong. The risk assessment must take account of groups of people who may be particularly vulnerable to risks such as visitors, young persons and new or expectant mothers. 

It is important that the risk assessment is clear and statements about risks and controls are properly justified. Avoid being unnecessarily restrictive and try to anticipate future changes and incorporate these into the risk assessment. The information should be kept as brief as possible and focused on what is needed to understand the risk assessment. It must be able to be understood without referring to any other documents but you can certainly add useful supporting references such as official guidance, standards and scientific publications. Remember that you are writing a risk assessment so you do not have to justify doing the work only that it will be done safely.

The controls must be effective enough to ensure that the work can be done safely while protecting workers and any other people who might be affected by the work. Risk assessments need to be sufficiently specific but should however be easily understood by your colleagues, workers, safety advisers and HSE inspectors. All workers must be provided with appropriate information, instructions and training on the hazards, risks and controls of the work to enable them to safely and competently perform their work.

- Dangerous Substances and Explosive Atmospheres Regulations 2002 (DSEAR):

Where quantities of flammable liquid/vapour or compressed gases are being used or have a potential to be released into the atmosphere, specific control measures relating to controlling these flammable and/or explosive atmospheres must be put in place. Please see Chemical Safety Adviser (Phil Rodger) for specific advice on DSDEAR risk assessment.

https://www.gla.ac.uk/myglasgow/seps/az/chemical%20safety%20(revised)/formsandtemplates/

COSHH/Risk Assessments

Examples of commonly used COSHH/Risk Assessments for chemicals are located:

COSHH

http://www.gla.ac.uk/media/media_301383_en.doc

COSHH legislation and the requirement for risk assessment is equally applicable to work with biological hazards.

General Risk Assessment (eg manual handling)

http://www.gla.ac.uk/media/media_280369_en.docx

Office Safety

http://www.gla.ac.uk/services/seps/az/officesafety/

Computer Equipment

https://www.gla.ac.uk/myglasgow/seps/az/computers/

- SAFETY REGULATIONS AND SCHOOL PRACTICE

CONTROL OF SUBSTANCES HAZARDOUS TO HEALTH (COSHH) REGULATIONS

The current Control of Substances Hazardous to Health Regulations, known by the acronym COSHH, came into force on 21st November, 2002 and has had the effect of formalising what was good working practice.

The Regulations were brought in to allow the UK government to comply with a European Community directive and to fulfil its obligations under an International Labour Organisation convention.

They also clarified aspects of the Health and Safety at Work Act and allowed some outdated legislation to be eliminated.

The requirements of the Regulations are to:

- Assess the risk to health arising from work and to assess what precautions are needed.

- Introduce appropriate measures to prevent or control the risk.

- Ensure that control measures are used and that equipment is properly maintained and procedures observed.

- Where necessary, monitor the exposure of the workers and carry out an appropriate form of surveillance of their health.

- Inform, instruct and train employees about the risks and the precautions to be taken.

- Implementation of the COSHH Regulations

For Control of Substances Hazardous to Health, it is necessary to consider the RISK related to the probability of exposure of worker and public to substances and the seriousness of such exposure. It is necessary that workers are aware of the RISK involved in what they are doing and take action to minimise it. EVIDENCE of both knowledge and action must exist. Our internal rules are framed to satisfy these requirements but, at the same time, allow intelligent initiative on the part of researchers.

We choose to work in terms of an EXPERIMENT which is broadly defined as a sequence of OPERATIONS involving the use of hazardous SUBSTANCES (reagents, solvents) which starts and finishes from situations at or near zero risk. A typical example could be a preparative reaction, which starts from clean glassware and safely stored reagents. Typically, it might involve glassware set-up, transfer of reagents, heating, reaction monitoring, isolation and characterisation of a product.  It would finish with reagents and products being safely stored, and residues correctly disposed of.

The RISK in an experiment reflects the nature of the SUBSTANCES used (toxicity, physical form) and the exposure potential of the OPERATIONS involved. Prior to EXPERIMENT, the research worker must estimate contributions to the RISK and combine them in a COSHH ASSESSMENT which will guide him as to the ACTION he should take in Control of his substances, and as to the DOCUMENTATION required. The matrices shown are based on those in the RSC leaflet entitled "COSHH IN LABORATORIES" and provide a common sense guide to the assessment of risk, and appropriate precautions in an experiment. Information on good laboratory practice is contained in the RSC leaflet entitled "SAFE PRACTICES IN CHEMICAL LABORATORIES".

- Training Needs Analysis

Incoming research workers will be familiar with most standard laboratory techniques to a greater or lesser extent. Inevitably new operations will be required at some stage, however, and even familiar operations may take on a new emphasis when applied to more hazardous substances or more extreme conditions than have been encountered before. Both students and supervisors should carefully consider each experimental operation being planned when risk assessment forms are being completed. If either feels that additional training is necessary or desirable for any operation, the supervisor should arrange to have this carried out at the appropriate time. Details should be outlined on the risk assessment form. Formal records of training should be kept for audit purposes.

- Substances

All commercial chemicals in laboratories will have had their hazards identified by the manufacturer/supplier or safety literature. The hazards, both physical and chemical, should then be listed when completing a risk assessment. If you are unfamiliar with the techniques needed to handle materials with a high or unusual (to you) hazard, consult your supervisor and note on your risk assessment form when appropriate training will be provided.

- See Appendix E for list of Bibliography available from the Chemistry Branch Library.

- Assessment and Documentation

For each experiment or mini project, researchers must complete a risk assessment form listing substances to be used, the procedures to be followed, and evaluation of the risks. The Risk Assessment form must be submitted and signed by the researcher, checked and signed by the supervisor and a copy then passed to room Mrs Arlene Sloan, room A5-09a, for filing. A copy must then be posted in a box file in the research laboratory (or adjacent office) and a copy retained with the research worker's own files. With the introduction of the electronic on-line COSHH forms later in 2005, only one copy of the completed form will need to be printed, signed and retained in the box in the research laboratory.

Further general information on COSHH regulations can be obtained from the website of Safety and Environmental Protection Services (SEPS) of the University of Glasgow at

https://www.gla.ac.uk/myglasgow/seps/az/chemical%20safety%20(revised)/

http://www.gla.ac.uk/services/seps/az/biological%20safety/

- Risk Assessment Number

Each Risk Assessment form must have an assessment number affixed to it.

- If an experiment involves unfamiliar operations and substances, or the scale is increased, then a full new assessment must be carried out and discussed with the supervisor before starting experimental work. A Risk Assessment form must be completed and signed by the researcher and countersigned by the supervisor.

- If an experiment involves familiar operations and reagents and the use of substances closely related to those in a previously assessed experiment and the scale remains unchanged then a cross reference in your laboratory notebook to the earlier assessment will normally be sufficient.

- If an experiment or project develops and the materials to be used have not been covered in the original assessment, a new Risk Assessment must be made and filed in the usual way.

- A copy of the lab notes should be retained either by the supervisor or kept at home to prevent loss in the event of fire or accident.

- Operations using certain specialised techniques, or where particularly unpleasant chemicals, e.g. anhydrous HF, F2 or volatile fluids, are involved, must be based on written protocols. Copies should be centrally filed and also retained for ready reference in the laboratory.

- Update risk assessments regularly. If there has been no change after one year, you should re-sign and date your last COSHH form as evidence of continuing risk assessment.

- Action

The assessment dictates location, level of containment, and any additional control measures for the experiment. It is the responsibility of both researcher and supervisor to ensure that appropriate action follows the assessment.

In case of doubt about Assessment, Documentation or Action, the Supervisor, Specialist Subject Adviser or Safety Coordinator should be consulted.

- LONE WORKING POLICY

Working alone in the context of safety is defined as being alone and no-one else being aware of your presence. It is a risk because normal emergency procedures and staff are usually not available under such circumstances. School policy is that this situation is an exception, never a rule, and the following guidelines are minimum requirements to ensure personal safety:-

- Make sure that you are signed in the building outwith normal working hours.

- Do not leave building entry routes unlocked after working hours.

- Work near a telephone.

- In an emergency dial extension 4444 before any other calls for help so that security staff can assist in reaching you.

- Ensure that the availability and type of aid, and the means of summoning aid are consistent with the nature of the hazard and the degree of exposure as identified by a thorough risk assessment.

- Risk Assessments involving lone working outwith normal hours must be counter-signed by the Safety co-ordinator or appropriate Head of Research Area.

For further guidance please use the following link;

- http://www.gla.ac.uk/services/seps/az/loneworking/

- CONTROL MEASURES

Under the above Regulations, where control equipment is being employed to allow the use of a hazardous material, then the efficiency of the control measure must be monitored.

- Fume Cupboards

This is the main control equipment used by the School; there must be an annual engineering inspection of the cupboards, ducting and fan motors. The cupboards must be inspected by users prior to use.

https://www.gla.ac.uk/myglasgow/seps/az/chemical%20safety%20(revised)/guidancedocuments/

- Respiratory Protective Equipment

This should not be used in general research laboratories, but may be required following a Risk Assessment when performing tasks such as dispensing solvent from bulk containers etc. It is the duty of the user to determine the properties of the equipment/filter and use it correctly. Prior to first use, each user must have a face fit test carried out to ensure that the face seal is completely effective. Work requiring the use of this equipment must not be done unaccompanied.

- Air Monitoring

The efficiency of a control measure must be tested. Air monitoring might therefore be carried out during laboratory inspections or following a request to do so.

- Health Monitoring

If, as a result of the hazard assessment, health monitoring is required, it will be arranged through the Occupational Health Service. At the assessment stage, consideration should be given to the use of alternative materials which are less hazardous.

- TOXIC HAZARD CLASSIFICATION

Materials can be classified into one of four toxic hazard categories: Very High (V), High (H), Medium (M), and Low (L). The criteria for classification are outlined below. In some cases, the guidelines are linked to the standard risk phrases used on labels and hazard data sheets. These phrases are shown in bold. In case of difficulty, the Supervisor, Safety Officer or Chemicals Safety Adviser should be consulted for advice. If the resultant Hazard Classification is Very High (V) or High (H), consider reducing the hazard by eliminating a material or by using a substitute.

- Very High Hazard (V)

A material which meets any of the following criteria:

- Workplace Exposure Limit (WEL) < 0.1ppm for vapour or < 0.1mg/m3 for dusts

- Is very toxic by acute exposure:-

- LC50 rat 0.5mg/L/4hr or less - VERY TOXIC BY INHALATION

Dermal LD50 rat or rabbit 50mg/kg or less - VERY TOXIC IN CONTACT WITH SKIN

Oral LD50 rat 25mg/kg or less - VERY TOXIC IF SWALLOWED

- Sub-acute toxicity with oral no effect level < 0.1mg/kg/day or equivalent dosage by other routes.

- Proven human carcinogen. See Carcinogens, Mutagens and Teratogens for further guidance.

- Respiratory sensitiser - MAY CAUSE SENSITISATION BY INHALATION

- Substances of unknown toxicity which, after inspection of the structure or other data, are likely to be classified as having an OES below the above limit.

- Substances which have a hazard equivalent to those in the above list in terms of radioactivity.

- Substances which are explosive or are very strong oxidizers.

- Substances which are pyrophoric.

- High Hazard (H)

- Workplace Exposure Limit (WEL) > 0.1ppm & < 10ppm for vapour or > 0.1mg/m3 and < 1mg/m3 for dusts.

- Is toxic by acute exposure:-

- LC50 rat 0.5mg - 2mg/L/4hr - TOXIC BY INHALATION

Dermal LD50 rat or rabbit 50mg-400mg/kg - TOXIC IN CONTACT WITH 	SKIN

Oral LD50 rat 25mg-200mg/kg - TOXIC IF SWALLOWED

- Sub-acute toxicity with oral no effect level < 1mg/kg/day or equivalent dosage by other 	routes.

- Corrosive		CAUSES BURNS

- CAUSES SEVERE BURNS

- Extreme skin or eye irritants - RISK OF SERIOUS DAMAGE TO EYES.

- Proven animal carcinogen or materials with suspected carcinogen activity but unknown 	potency.

- Substances of unknown toxicity which, after inspection of the structure or other data are likely to be classified as having an WEL within the above range.

- Substances which are potentially explosive.

- Substances which are potentially pyrophoric.

- Substances under high pressure in an autoclave or other reaction vessel i.e. hydrogenation.

- Substances which have a hazard equivalent to those in the above list in terms of radioactivity.

- Medium Hazard (M)

A material which meets any of the following criteria but does not fall into a higher classification.

- Workplace Exposure Limit (WEL) < 500ppm for vapour or < 10mg/m3 for dusts

- Is harmful following acute exposure:-

- LC50 rat 2.0mg-20mg/L/4hr - HARMFUL BY INHALATION

Dermal LD50 rat or rabbit 400mg-2000mg/kg - HARMFUL IN CONTACT WITH SKIN

Oral LD50 rat 200mg-2000mg/kg - HARMFUL IF SWALLOWED

- Sub-acute toxicity with oral no effect level of 1-50mg/kg/day or equivalent dosage by 	other routes

- Skin or eye irritants - IRRITATING TO EYES

- Skin Sensitisers - MAY CAUSE SKIN SENSITISATION BY SKIN CONTACT

- Low potency carcinogens

- Substances which have a hazard equivalent to those in the above list in terms of 	radioactivity.

- Low Hazard (L)

A material which meets any of the following criteria but does not fall into a higher classification.

- Workplace Exposure Limit (WEL) > 500ppm for vapour or > 10mg/m3 for dusts

- Substances which are non-harmful following acute exposure:-

- LC50 rat > 20mg/L/4hr

- Dermal LD50 rat or rabbit > 2000mg/kg

- Oral LD50 rat > 2000mg/kg

- Sub-acute toxicity with oral no effect level of > 50mg/kg/day or equivalent dosage by 	other routes.

- Non-irritant material

- Non-genotoxic and non-carcinogenic materials

- Materials which are not skin sensitisers

(Chemicals known or suspected of being absorbed through the skin will have the notation SKIN in their hazard data. Note that the absence of this notation does not guarantee that the material will not be absorbed through the skin).

- Substances which have a hazard equivalent to those in the above list in terms of radioactivity.

EXPOSURE POTENTIAL

The risk presented by working with a material depends on the likelihood of exposure to it as well as the hazard category of the material itself. The following matrix should be used to calculate the exposure potential for each reactant.

|  | SCORE | 0 | 1 | 2 |
| --- | --- | --- | --- | --- |
|  | A Quantity | < 1g < 1ml | 1-20g 1-20ml | 20g-1kg 20ml-1litre |
| EXPOSURE POTENTIAL: key factors | B Physical Form | Dense Solids Non-volatile liquids (b.p.>180°C) Dilute Solutions No skin absorption | Dusty Solids Volatile liquids (b.p.80-180°C) Conc.Solution Low Skin absorption | Gases Highly Volatile liquids (b.p.<80 C) Aerosols High skin absorption |
|  | C Inherent Character of Unit Operation | Enclosed System Low Chance of Mishap | Partly Open System Low Chance of Mishap | Fully Open System Medium/High Chance of Mishap |

- EXPOSURE POTENTIAL (EP) is the sum of scores for A, B and C

i.e. EP = [A] + [B] + [C]

TOTAL SCORE	EP

 3		LOW

4		MEDIUM

 5		HIGH

N.B.	Prolonged or repeated exposure may warrant a higher EP category.

- RISK ASSESSMENT SCORE

|  | VERY HIGH (V) | 3 | 5 | 5 |
| --- | --- | --- | --- | --- |
|  | HIGH (H) | 2 | 3 | 4 |
| TOXIC HAZARD CATEGORY | MEDIUM (M) | 1 | 2 | 3 |
|  | LOW (L) | 1 | 1 | 2 |
|  |  | LOW | MEDIUM | HIGH |

Exposure potential

- LOCATION

With a risk score of 1, operations on an open bench are appropriate. Scores of 2 or 3 will require use of appropriate control measures. With a risk score of 4 or 5, special facilities such as glove boxes will be necessary, and use of the Special Operations Lab might be considered for some operations.

In summary, to successfully complete a Risk Assessment of an experiment or mini-project, it is necessary to consider:-

- Hazards associated with the materials and associated operations

- Control Measures

See Literature and/or Safety

- Emergency Procedures	 Information in Chemistry Branch Library

- Disposal Procedures

- Exposure Potential

- Risk Assessment Score

- Training Requirement, if any

These considerations are then formalised in the completion of a COSHH risk assessment form. Copies of the forms adopted by the School of Chemistry for chemical hazards and biological hazards are shown on the next pages, along with the instruction sheets for their successful completion.

Examples of the risk assessment forms and associated instruction sheets are shown on the next pages.  Blank forms and instruction notes can be downloaded from the School Safety website at http://www.gla.ac.uk/schools/chemistry/studentstaff/safety/

EYE PROTECTION

It is a legal requirement to wear eye protection in laboratories. Suitable safety glasses can be obtained from Chemistry Store. Normal prescription glasses do not offer protection enough, and protective over-goggles must be worn with them. These can also be obtained from Chemistry store. Spectacles should be worn in preference to contact lenses, which could trap chemicals between the lens and the eye. Soft lens in particular can also absorb solvent vapour.

ALLERGIES AND DERMATITIS

Some individuals are sensitive to certain chemicals, which can cause skin rash and other allergic reactions. It is important to avoid contact with such materials. Use of protective gloves might be enough to control the reaction, but in other cases it can be necessary to stop using those chemicals altogether and may even require re-location to a lab which is free of such agents. The Occupational Health Service offer health surveillance to all personnel where allergy may be an issue, https://www.gla.ac.uk/myglasgow/seps/az/healthsurveillance/

- SOLVENTS

Each occupant of a laboratory is allowed a maximum of 2 litres of solvent at their work area provided no one container is greater than 500 cm3. Direct use of solvent from a 2.5 litre Winchester container is not allowed either in the open laboratory or in a fume cupboard, unless required for a large-scale operation. Prior permission for each such operation must be obtained from the Section Head or Safety Coordinator. Transfer from a 2.5 litre Winchester to a reagent bottle must be carried out in a fume cupboard.

Do not leave surplus solvents in fume cupboards. Because of the design of the fume cupboard baffles, fires in fume cupboards containing solvents are very difficult to control.

- Flammable Solvents

By law, the maximum volume of flammable solvent (flash point < 32oC) allowed in any one laboratory must never exceed 50 litres; THIS INCLUDES ANY FLAMABLE WASTE stored in the laboratory. 2.5 litre Winchester containers must be stored in a two-hour fire resisting cabinet, which must be kept shut.

Solvent spills

An adequate supply of absorbent spillage granules should be kept in every laboratory where solvents are used so that any spillage can be covered.

- WASTE DISPOSAL

Such is the range of activities carried out in the University that a wide variety of waste is produced, from simple paper to radioactive material.

Please look at the link below to familiarise yourself with the types of waste and the relevant legislation that may govern its disposal.

Finlay Smith, the Stores Manager is the Waste co-ordinator for the School of Chemistry and any queries should be addressed to him in the first instance.

http://www.gla.ac.uk/services/seps/waste/

The disposal of waste chemicals and solvent can often cost more than the original material. It is important, therefore, when orders are placed for chemicals that only sufficient is ordered for your immediate use.

- General

General waste such as wastepaper in the laboratory may be put into the normal disposal containers. It is important, however, that broken glass or similar material is kept separate.

- Sharps and Broken/Waste Glass Bins

It is the duty of the user to rinse off any chemical which may have adhered to the surface of the glass or sharp objects. Bins are provided in every laboratory for waste glass. These bins are for the disposal of SODA glass only (winchesters, pipettes etc), all borosilicate (Pyrex & quartz) should be disposed of in the general waste outside. Special yellow bins are also available for “sharps”, i.e. needles and blades and may be obtained from the Chemistry Store. Please ensure that these are used correctly. They are disposed of in different ways. The contents of the “sharps” bins are incinerated. The glass bins must be emptied regularly into the glass disposal bin (lane between Chemistry and the Graham Kerr building). Any problems should be notified to the Stores Manager, Finlay Smith. Filled Sharps (no more than ¾ full) containers should be removed to the store by arrangement with stores personnel. https://www.gla.ac.uk/media/Media_649056_smxx.pdf

- Waste Solvent

There are generally three categories of waste solvent: waste flammable solvent, waste non-flammable solvent and waste oils. Each must be kept separate. It is not important to note the quantity of solvent going into the drum, but it is important to note the name. This should be added to the label attached to the drum. Full drums should be handed into the store with a clearly labelled note showing the different solvents added, the origin of the solvent i.e. the laboratory and an appropriate Hazchem sign attached. The signs can be obtained from the Store together with new drums.

- Typical flammable solvents are acetone, ether, ethyl acetate etc.

- Non-flammable solvent primarily means chlorinated solvents such as chloroform, dichloromethane etc.

- Waste oils in general refers to vacuum pump oil. (If a vacuum pump is to be serviced, it is your responsibility to drain off the waste oil first).

Any acidic or otherwise reactive component of the waste solvent should first be neutralised prior to being poured into the waste drum.

- Waste Chemicals

Disposal of waste chemicals is the responsibility of the user. Disposal procedure is available on the SEPS page of the University website at

http://www.gla.ac.uk/services/seps/waste/

Any chemical sent for disposal must be properly labelled showing contents and quantity together with laboratory origin and research group identified. Disposal costs must be met by the waste generator. Transport and consignment note costs are significant but may be shared with others e.g. Chemistry School stores waste solvent uplift.

- Unknown chemicals will not be removed for disposal. A false or wrong descriptor of the waste can lead to the waste generator being prosecuted.

- Only certain water soluble and "safe" chemicals may be put into the drainage system e.g. calcium chloride, sodium sulfate etc.

For disposal of ‘heavy metal solutions’, please contact Finlay Smith, School of Chemistry Stores manager.

WEEE Waste

This refers to waste electrical, and electronic equipment. This type of waste is housed in the cylinder pound and is uplifted regularly by an approved contractor. All electrical and equipment waste must be disposed of via this route. The key to the area is available from the store. See the link below:

http://www.gla.ac.uk/services/seps/waste/electricalelectronicequipment/

Biological Waste

Biological waste may have different disposal routes. Please contact Graham Tobasnick for advice on the disposal of biological material.

Other Waste Streams

Office waste: paper, card etc, should be disposed of in the general recycling boxes (lined with a clear polythene bag). These boxes are also used for plastics (eg drinks bottles) and cans. Food waste should be disposed of via the general waste (black polythene bag). Theses streams are uplifted by cleaning services.

Sharps: Sharps/cin-bins are disposed of via the store, please contact Finlay Smith for further info.

Furniture: Please deposit waste/damaged furniture in the rubbish pound in the lane between Chemistry and the Graham Kerr Building. The key is available from the store. Surplus furniture may be transferred to the University storage facility for re-use or advertised on Warpit, https://www.warp-it.co.uk ( a national waste reduction scheme).

Batteries: Batteries may be recycled in the box at the store, all terminals must be covered with insulating tape prior to disposal.

http://www.gla.ac.uk/services/seps/waste/batteries/

IT waste: Please contact Stuart Mackay or Arlene Sloane to dispose of IT waste.

Lecture Bottles: Should either be returned to the supplier or to Veolia for disposal.

http://www.gla.ac.uk/services/seps/waste/chemicals/

Confidential Waste: Please contact the admin staff.

http://www.gla.ac.uk/services/estates/sustainability/recycling/

- CERTIFICATE OF COMPLETION

As a reminder and aid to promoting good housekeeping practice and, hopefully, to reduce the occurrences of discovery of unlabelled materials, all researchers will be required to sign a “Certificate of Completion” to the effect that, at the completion of experimental work, all their chemicals have been properly disposed of or labelled and handed to their supervisors. The supervisors will also be required to sign these documents. The forms can be obtained from the Student Support Office. These certificates will form part of a student’s post-graduate progress report and will pass through the Student Support Office. Progress to oral examination and the award of PhD will not proceed in the absence of this certificate.

LEGAL RESTRICTIONS IMPOSED BY THE CHEMICAL WEAPONS CONVENTION

The UK is a signatory of the Chemical Weapons Convention and all Universities are obliged to comply with the Chemical Weapons Act of 1996, which introduced a number of controls on certain chemical substances. In particular if we make, possess or use any so-called Schedule 1 chemicals we need a license from the Chemical Weapons Convention Implementation, National Authority, Department for Business, Energy and Industrial Strategy, Room G39, 3 Whitehall Place, London, SW1A 2AW.

Glasgow University holds an Open General License which allows us to work with these chemicals for research purposes. It restricts the University, however, to a maximum of 5g in total for all the chemicals on the list that are made, held or used in any calendar year. The Open General License also requires that records be maintained about any production or use of such compounds and that these must be open to inspectors from the CWC National Authority . The list of Schedule 1 substances, which includes various organophosphates and 2-chloroethyl derivatives, is given in Appendix G. You should familiarise yourself with the chemical types listed there and before using any material related to them check that it is not on the list.

If it is necessary to use a compound on the Schedule 1 list, in order to ensure that we continue to comply with the regulations, it is essential that you should inform the School Safety Officer IN ADVANCE OF OPERATIONS BEGINNING of its identity, quantity and use. It will also be necessary to keep for possible inspection copies of the relevant sections of lab notebooks for at least three years afterwards. Note that this requirement relates not only to isolated chemicals, but also to reaction intermediates prepared and used in situ.

Permission can be obtained to exceed the 5g p.a. limit if this appears necessary by applying for an Individual Possession and Use License or an Individual Production License. We are assured by the National Authority inspectors that if necessary, this could be arranged in about two weeks.

DRUG PRECURSOR LEGISLATION 273/2004.

The above regulation came into force on 18th August 2005 and requires that users of chemicals shown in category 1 (Appendix J) apply for a Home Office license, while for category 1 and category 2 chemicals a yearly returns form should be completed.

- UTILITIES

- Maintenance

All requests for maintenance to services (gas, water, electricity) should be made using the following link https://ebweb.cent.gla.ac.uk/helpdesk/default2.asp .Please ensure that all room numbers are quoted.

- Workmen or Contractors in the School

- Workmen or contractors entering the School should contact the Janitors, who will inform the Chief Technician. Arrangements will then be made to allow the workmen safe access to the work site. The workmen should identify themselves to the janitors whenever they enter the building and inform them of the location of the work. Workmen are not permitted to work in hazardous laboratories without appropriate arrangements being made for the safety of themselves and others.

- Access to the roof is by arrangement only, by contacting the Chief Technician or his Depute. When work is to take place on the roof or in a laboratory, some lab work may have to be postponed. (e.g. shutting down fume cupboards or removing hazardous chemicals from the work area.). This may require prior notification or delays, both to repair or installation work and to lab work. All parties should co-operate to minimise any disruption.

- School safety rules must be obeyed when workmen are operating in laboratories. Safety glasses should be provided for the workmen.

- Safety of Maintenance Personnel

It is the duty of the research worker to ensure that items to be maintained are in a safe condition for the work to be carried out. If there is any doubt about safety, the maintenance staff must be informed and advised about suitable precautions to take. Advice can be obtained from your supervisor or Phil Rodger, Chemical Hazards Adviser, SEPS.

Gas	The use of gas appliances such as Bunsen burners should be restricted where possible to fume cupboards. If naked flames are to be used in the open laboratory, the user must ensure the absence of flammable solvents and other similar material.

Water	All water connections must be clipped. Polythene tubing or neoprene rubber tubing 	should be used for permanent connections. Water flow through condensers should be 	kept to a sensible minimum and the outflow tube adequately secured. Note that water 	pressure often rises at night, and it is usually necessary to reduce the flow of water 	through condensers that have to be left on overnight. Do not allow tissue paper and other

rubbish to collect in sinks. Where appropriate the use of water flow indicators is recommended.

Electricity	To ensure the safe use of electrical appliances and to comply with the law, the 	following points must be observed:

- All portable appliances must have a valid test certificate (fitted to the plug) before it 	may    be used.

- Appliances must be visually inspected each time prior to use (flex, plug, instrument).

- Faulty equipment should be taken to the electrical workshop for repair at the earliest 	opportunity.

- DO NOT replace the fuse with one of a higher rating.

- New equipment should be correctly fused and tested prior to use. Calculate the appropriate fuse value by using the formula

Current  =  Power 	(see back plate of instrument)

Voltage 	 (240 volts)

- Use the first fuse available above the maximum current.

[Example:-	An instrument rated at 1000 watts, would use a maximum current of

1000  = 4.16 amps.		The correct fuse would be 5 amps.]

240

- Whenever practicable, switch off apparatus at the socket (or remove the plug) last 	thing at night.

- ELECTRICAL TESTING OF PORTABLE APPLIANCES

All equipment is to have an electrical test with frequent additional visual examinations. (See table below - for information on item classification contact Jessica Walker, ex 6570).

| Risk Factor | Items | Period (months) Visual PAT |  |
| --- | --- | --- | --- |
| High | Hand-held items - Class I - hot air guns | 6 | 12 |
| Normal | Portable equipment - Class I - stirrer hotplates | 24 | 24 |
| Low | IT, static and double-insulated items Class II - PCs, fridges | 36 | 36 |

Each item is to be labelled with an identification number, located next to the mains inlet. This code is in three parts, the first part being 124 (the building number), the second is the room number and the third the serial number. (e.g. 124/A432a/001).

Each item is to have a test label, with either "Tested for Electrical Safety" and the date and re-test date, or "Equipment not to be Used". The plug should also have a label of the fuse rating.

The Chief Technician will identify laboratories/areas for testing, taking into account the workload of the laboratory and technician and workshop resources. No area must be allowed to overrun its test date.

In each area, the Laboratory Responsible Person should take action over items which fail tests. He/she will also be responsible for:-

- arranging for repair work or for disposing of the equipment

- preparing equipment for testing/checking

- ensuring that staff and students are aware of user checks

- ensuring that new equipment entering the laboratory is tested, the test details recorded, and a copy sent to the Chief Technician

- User checks

Plugs:	Examine terminals (all terminals must have earth sheaths) and cord grip to ensure that they are in good working order and free of corrosion or contamination.

Cables: Examine flex for cuts, abrasions and signs of overheating and that the outer sheath enters the plug. NO tapes or terminal blocks should be used.

Appliances: Examine items to ensure that they look in good order and free of corrosion or contamination.

Portable appliance testing is carried out by Jessica Walker in areas that have no designated lab support.

- FUME CUPBOARDS

All fume cupboards in the School are of an aerodynamic design approved by the British Standards Institute.

The use of a fume cupboard is a fundamental part of many COSHH Risk Assessments but its function is often not properly understood.

https://www.gla.ac.uk/myglasgow/seps/az/chemical%20safety%20(revised)/guidancedocuments/

- The purpose of a fume cupboard is the secondary containment of fumes.

Primary containment must be part of the experimental design, which should allow for the trapping and/or neutralisation of any expected fume release.

Some fume cupboards have a three-speed extraction fan fitted which will provide the following face velocities:

Low speed		0.2 - 0.3 ms-1	suitable for overnight operation

Medium speed	0.5 ms-1	suitable for all normal operations

High speed		0.75 > ms-1 	to be used in exceptional circumstances 							or when handling radioactive material.

The fume cupboards are fitted with alarms that will activate if there is a drop in air-flow during medium speed operation.

It is the users' responsibility to check the performance of fume cupboards. Any faults should be reported to Graham Tobasnick, e-mail (Graham.Tobasnick@glasgow.ac.uk). All fume cupboards are inspected annually and have a test certificate placed on the sash. Contact Graham Tobasnick if a certificate is not in place.

In a multi-user laboratory a note giving details of the reaction in progress must accompany each experiment. All materials and apparatus must be cleared up and removed from the fume cupboard on completion of the experiment.

Fume hoods should not be used as a convenient way of disposing of noxious vapours. Such vapours (thiols, etc.) must be trapped and neutralised as far as possible. Do not use fume cupboards for the long-term storage of noxious or hazardous chemicals.

- CARCINOGENS, MUTAGENS AND TERATOGENS

This section should be read in conjunction with the appropriate section of the University Code of Practice "Working with Carcinogens" which gives an indication of emergency procedures specific for these substances and covers the subject in greater detail.

- Some chemicals (carcinogens) are known or thought to be able to produce cancer in humans at levels that could be reached in working unless proper care is taken. Others (cancer suspect agents) are merely suspected of this, sometimes on the basis of work involving animals and of massive doses. However, all such substances should be treated with caution.

- Mutagens are substances which can cause mutations. Such substances are often, but not always, more or less carcinogenic and must be regarded as cancer suspect agents in the absence of further information.

- Teratogens are substances that can affect the growing foetus. Because of the foetus' high rate of cell division, this is especially vulnerable to chemical damage. Moreover, harmful chemicals taken before pregnancy is known (or even before conception takes place) could conceivably persist in the body long enough to harm a foetus.

FEMALE WORKERS OF CHILD-BEARING AGE ARE ADVISED TO SHOW THE UTMOST PRUDENCE IN THEIR HANDLING OF ALL CHEMICALS. Further advice can be obtained from:

http://www.gla.ac.uk/services/seps/az/newandexpectantmothers/

- Carcinogenic activity is often found in the following classes of compounds:- polycyclic aromatics, bicyclic or polycyclic aromatic amines and nitro and nitroso compounds, nitrosophenols (but not p-nitrosophenol itself); epoxides; reactive alkyl halides and -haloethers; aziridines; -propiolactone; organic sulfates; diazomethane, related 	species and precursors; nitrogen mustards; other alkylating agents; N-nitrosoamines.

- All suspect carcinogens are suspect teratogens. In addition, mono alkylamides are suspect teratogens.

- A sense of proportion (though not complacency) is in order. The well-publicised chemical tragedies have mostly arisen from prolonged industrial exposure (-naphthylamine, benzidine, vinyl chloride) or from people actually ingesting the offending compound (thalidomide). Extensive bibliographies on a very large number of substances are in the official US Registry of Toxic Chemicals (copy kept in Chemistry 	Branch Library).

- For working with carcinogens, mutagens and teratogens, IT IS ESSENTIAL TO FOLLOW THE UNIVERSITY OF GLASGOW CODE OF PRACTICE "WORKING WITH CARCINOGENS". Copies are available in the Safety Section of the Chemistry Library.

- PRESSURE SYSTEMS

- Gas Cylinders

Large gas cylinders must be handled with care because serious injury can result from a cylinder toppling over and, for example, crushing a foot or breaking the cylinder's main valve leading to an enormous release of energy and turning it into a lethal projectile. DO NOT ATTEMPT TO MOVE A CYLINDER WITHOUT A CYLINDER TROLLEY. Gas cylinders are colour coded. Be sure to correctly identify the cylinder you want before using it. The correct reduction valve for the gas must be fitted to the cylinder prior to use. Do not attempt to do this unless training has been given. Never move a cylinder with its reduction valve still in place, as this greatly increases the chance of snapping the cylinder neck in an accident. Gas cylinders other than "lecture bottles" must be securely strapped to benches or walls using an approved fitting. They should not be used from mobile trolleys unless specific permission has been given for that. When not in use, cylinders should be turned off, not merely at the reduction valve, but at the main cylinder valve as well (after which the gas in the reduction valve should be released).

- Ensure that there is an appropriate warning label on the external door of the laboratory.

- Ensure that the valve and regulator are free of grease.

- Particular care must be taken with oxygen.

- The use of teflon tape (plumbers sealing tape) on the threads of cylinder regulators is prohibited by the PSSR 2000 regulations.

- When a gas cylinder is empty, it should be returned to the Stores yard as soon as possible (you will be charged for the rental until this is done). Cylinder pound key is available from the stores.

Note that using nitrogen or argon in confined spaces poses an asphyxiation hazard. Carbon monoxide (CO) is very toxic and H2 and CO are both flammable and can present an explosion risk.

To comply with Pressure Systems Safety Regulations 2000, compressed gas systems with an operating pressure greater than 0.5bar must have a “Written Scheme of Examination” (WSE). Such compressed gas systems must have an “Annual Inspection” carried out by a “Competent Person” as defined in the WSE. All “Safety Devices” associated with the compressed gas system are subject to a five yearly maintenance schedule as defined in the Written Scheme of Examination. In practice, maintenance often means replacement of the safety device. Safety devices may comprise the cylinder regulator, pressure relief valve or bursting disc High pressure hoses also require to be replaced five yearly.

https://www.gla.ac.uk/media/Media_707987_smxx.pdf

- Lecture Bottles

Lecture bottles can contain up to 500g of materials under pressure but do not pose the same mechanical dangers as large cylinders. Many lecture bottles however contain very dangerous substances - toxic, very toxic, corrosive or flammable. Lecture bottles must be stored in an upright or canted position (valve to top), ideally in a vented cabinet, or the valves may suffer from corrosion making it difficult to open them controllably or to close them once open. Depending on the substance in the lecture bottle, take great care to check that the necessary fine control of the valve can be achieved before attaching it to any apparatus. When the gas is toxic or corrosive and is being 'bubbled through' a reaction process, excess gas from the apparatus should be scrubbed with water (e.g. for HBr, HCl) or an alternative suitable reagent before being vented into a fume cupboard.

Whilst the risks and necessary precautions associated with the dangerous substances will be dealt with as part of the normal risk assessment procedure, the additional hazards of using cylinders of these materials (large amounts, high pressure) might not. It is recommend, therefore, that the "Residual Risk and Appropriate Procedures" section of the standard risk assessment forms should be used to identify these possible additional hazards, and the remedial actions to be undertaken in the event of problems (leaking valves, etc.) listed there.

Laboratory Responsible Persons should take an inventory of all lecture bottles and cylinders kept in their laboratories and ensure that incompatible materials are not stored together. Regular inspections of lecture bottles should be made to check against excessive corrosion and to check that identity labels are not becoming obscured.

- Malfunction

Although lecture bottles are provided with suitable valves that should not corrode or malfunction, experience has shown that, from time to time, valves fail to operate smoothly and controllably so that gas is released too fast for the scrubber to absorb it all. Where there is such a risk, a secondary containment mechanism should be available.

Lecture bottles should normally be connected to a vacuum system via a secondary valve and metal connector. Bottles must be securely clamped at all times. Connections via rubber or plastic hose are seldom satisfactory. On those occasions when gas from a lecture bottle is to be passed through a system at ambient pressure, the operation must be carried out in a fume  cupboard and a properly tested scrubber unit must be added.

Disposal

The cylinders can be disposed of by a commercial organisation. The cost of this operation will have to be met by the research group which owns the cylinders.

PRESSURE EQUIPMENT

The Pressure Systems and transportable Gas Containers Regulations 1989 cover all systems in which gas or vapour is contained at pressures greater than 0.5 bar above atmospheric pressure, including gas pipelines. Equipment with a pressure vessel in which the energy exceeds 250 bar litres must be registered with the University and be subject to periodic examination by an insurance engineering inspector. In addition, equipment covered by the above Regulations must be certified as being suitable for its purpose by a consultant engineer before being used. Equipment built "in house" cannot, therefore, be used until certified.

- Research equipment is exempt provided it exists for less than twelve months.

- Laboratory equipment, including pressure cookers and gas distribution systems, are not exempt.

- For all equipment covered by the Regulations, written information must be available, and the safe operating limits defined.

- The Regulations do not cover vacuum or hydraulic systems.

- Gases

Reactions involving gaseous materials must be in specially designed apparatus and calculations should have been carried out to ensure that any pressure generated can be contained safely within the apparatus (see also sections dealing with sealed tubes and gas cylinders). Gases should not be dried by passing through concentrated sulfuric acid. Blockage of the exit tube can cause pressure build-up and blow-back of acid when the cylinder is disconnected.

- Carius Tubes (or sealed tubes of a similar type)

Preference should be given to use of stainless steel vessels as they are considered to be safer. For smaller reactions under relatively mild conditions (say less than 5 bar and 150 degrees), purpose-built Pyrex glass tubes should be employed. One of the procedures below, designed to protect you and others nearby, must be followed.

a) Frequent users.

There should be a group protocol in operation and researchers will probably seal their own tubes. Newcomers should be trained by the glassblower before attempting this.

b) Occasional users.

The glassblowers must assist. You should complete a requisition form for the "Sealing of Carius Tubes" (forms are available from the Glassblowing Workshop) and give to the glassblower an accurate inventory of everything to be put in the tube. The completed form should be checked by your supervisor and a copy should be retained in the Glassblowing Workshop. Ensure that your COSHH risk assessment form covers the whole procedure.

You must calculate the maximum pressure likely to be encountered and the glassblower will select the appropriate grade of glass from which to make the tube. The glassblower will seal the tube, and, after the reaction, assist or advise you on opening it. Take care to de-gas any solvent and to avoid condensing volatiles in the tube if you cool it before sealing. If the tube needs to be sealed under vacuum or nitrogen this can be done at your bench.

Use common sense at the heating stage. Since the tube is small and only moderate conditions apply, an oil bath behind a blast screen in a (preferably dedicated) fume cupboard should offer adequate protection. As a safeguard against a dangerous build up of pressure should accidental overheating occur, you should consider the effects of the solvent converting to its gaseous state. This is probably not appropriate if a significant volume of solvent is involved, however. In these circumstances use of the Clausius-Clapeyron equation is more realistic in determining the pressure contribution from the solvent.

- Manufacture and Sealing

- All tubes (Pyrex glass) must be manufactured by the Glassblowers.

- Wide tubes should normally be sealed by the Glassblowers; constricted tubes prepared by the Glassblowers may be sealed by the individual research worker after appropriate training.

- Take the tubes in a cooling bath to the Glassblowers at a pre-arranged time. Be careful not to condense unwanted moisture or volatiles in the tube. Liquid nitrogen should not be used to cool tubes under circumstances where liquid oxygen could condense in the vessel. It is permissible, however, to cool tubes evacuated under high vacuum using liquid nitrogen.

- Opening

Tubes are usually opened using the 'scratch/hot rod' technique (see Glassblower). No member of technical staff, glassblower or otherwise, should be asked to open sealed tubes. This must be done by the research worker or by the Supervisor.

The following procedure must be used:

- Before opening, the tubes must be cooled sufficiently to ensure that no excess pressure within the tube exists at the time of opening.

- Opening is to be done behind a safety screen and preferably in a fume cupboard.

- The tube should preferably be held in a mild steel sheath with only the capillary projecting.

- The steel tube must be directed so that any projectile from it cannot damage personnel.

- A full face shield is to be worn.

- Heavy industrial gloves are to be worn.

- VACUUM SYSTEMS AND VACUUM DISTILLATION

Most vacuum apparatus is constructed of Pyrex glass. When assembling vacuum apparatus, always examine the equipment for stresses and strains and defects. If glassblowing has been carried out on a piece of glassware, it must be properly annealed and checked by the glassblower before being used for reduced pressure work. As far as possible, vacuum apparatus should be protected against effects of implosion and explosion by the use of PVC tape and safety netting, and shields where appropriate. Safety goggles should be used when operating glass vacuum apparatus.

Under no circumstances should a trap cooled to liquid nitrogen temperature be left on a line open to the atmosphere. This may result in liquid oxygen condensing inside the line which can give rise to an explosion if either; (1) the line contains an organic material or; (2) the line is closed to the atmosphere and the trap removed.

Always operate stopcocks slowly using one hand to support the barrel; never try to force it. Manometers or parts of the apparatus containing quantities of mercury should be moved slowly as the induced pressure shock can cause the line to rupture. Similar precautions apply to vacuum distillations; in general, traps should be cooled in acetone-dry ice rather than liquid nitrogen.

- LASERS

- Accidental misuse can cause eye damage or even blindness.

- Rooms in which lasers are used must be designated as laser hazard areas and admission restricted to duly authorised personnel and, where regulations permit, to others under properly authorised supervision.

- There are regulations about eye protection, screening of sources, and the placing of warnings on doors of rooms where lasers are used. These rules are summarised in the School Local Rules and Systems of Work for the Safe Operation of Laser Products, which are available from the Laser Safety Adviser (Dr Gordon Hedley), and which should be consulted before any work is begun.

- These rules do not apply to equipment operating under Class 1 conditions where the laser beam is contained safely within an enclosure and where the beam cannot come into contact with the user. However, anyone who has to service that equipment or who works with lasers above Class 3a (except for manufacturers' service engineers) must first contact the School Laser Safety Adviser who will determine his/her competence to undertake the work.

- X-RAY SOURCES

- Even momentary exposure to intense X-ray beams can cause serious burns, leading to amputations in the worst cases. Long term exposure to lower levels of X-radiation carries increased risk of genetic abnormalities, sickness and death.

- The doors of laboratories in which X-rays are generated are appropriately marked. Entrance to each X-ray laboratory is strictly limited to (i) authorised personnel and (ii) persons under the direct supervision of authorised personnel. The current list of authorised personnel is posted on the door of each X-ray laboratory.

- Anyone who wishes to use X-ray equipment must first consult the Radiation Safety Adviser, Mr. A. Monaghan. Supervisors of students and technicians are reminded that formal written application to the X-ray Hazards Adviser for authorised personnel status is mandatory and that supervised training in safe use of X-ray equipment is required.

- WOMEN WHO ARE, OR MAY SHORTLY BECOME, PREGNANT SHOULD NOT WORK WITH X-RAYS.

- BIOLOGICAL HAZARDS

The COSHH Regulations require that risk assessments should cover biological as well as chemical hazards. A risk assessment should therefore be completed whenever experiments involve a ‘biological agent’ as defined in the COSHH Biological Agents ACOP. This includes bacteria, fungi, viruses, cultured cells and materials likely to contain pathogens, such as human body fluids. Biological agents are categorised into hazard groups according to their potential for causing infection in man, by the Advisory Committee on Dangerous Pathogens. The categorisation is set out in the following publication, available in the library, which also describes the level of containment required for each hazard group.

Advisory Committee on Dangerous Pathogens, “Categorisation of biological agents according to hazards and categories of containment: approved list and guide”, HMSO, 4th edition, 1995.

Useful practical information on dealing with biohazards is available from the SEPS website at http://www.gla.ac.uk/services/seps/az/biological%20safety/

The School Biological Safety Adviser, Dr. A. Lapthorn, can provide advice on the legislation and the facilities available for working with biological agents in the School.

Genetically modified (GM) organisms are covered by separate rules administered by ACGM in addition to the COSHH regulations. For experiments involving GM organisms, the School of Chemistry operates within the registered administrative framework established by MVLS. If you think an experiment may fall within this category or if you need to obtain outline approval for the purpose of a grant application, please discuss it with Dr A. Lapthorn, who can provide the forms necessary for GM experiments, help to complete them and channel them to the MVLS GM Committee.

The Scottish Agricultural Science Agency regulates the experimental use of non-indigenous plant pathogens and some plant and soil materials from overseas, under licence. While this legislation is not directly concerned with human health and safety, similar biological containment measures are appropriate and the same procedures should be used for risk assessment.

- VISITORS

Visitors must comply with local safety rules when entering laboratory areas. If they are participating in any experimental work, they must be issued with a copy of the Safety Regulations and are required to read it and sign an appropriate risk assessment form or laboratory form, as well as comply with all the appropriate safety instructions. Each visitor will be known to (and presumably working with) a member of the School of Chemistry academic staff, and it is the responsibility of that staff member to report the visitor's arrival to the Head of School secretary. That staff member will also be responsible for ensuring that the visitor is trained to the appropriate standard of safety before any experimental work commences.

- Outwith normal hours, visitors must have specific permission to be in the School.

Animals are not allowed in the building without the prior approval of the Head of School.

Children are not allowed into the building without proper supervision. They are only allowed into laboratories for educational visits where they must be issued with protective clothing and must be supervised at all times.

- NORMAL WORKING AND LATE WORKING REGULATIONS

- Normal hours of working are

8.30 – 17.30	Monday – Friday

- Janitors are on duty

8.00 – 16.00	Monday – Friday

All persons using the buildings after 18.00 hours Monday – Friday, anytime on Saturday or Sunday, or during public holidays must sign in and sign out in the Late Book at the Janitors' Box.

Practical work (other than routine instrumental work) must only be done with at least one other person present in the laboratory or within easy earshot. Very high risk experiments are forbidden out of hours and experiments in the high risk categories (as defined by COSHH assessment) should only be attempted out of hours following consultation with and at the discretion of the research supervisor. Pyrophoric or highly toxic compounds must not be used outside normal working hours.

For researchers who need to make short visits to their laboratory (e.g. to top up Dewar flasks or to take readings as part of a long-running experiment) in the small hours or late during the weekend (when the safety requirement of having a second person within earshot may be difficult to arrange), a check in/check out system with Central Security has been arranged as a safety backup. Under these circumstances, the researcher should telephone Central Security on extn. 4282 as soon as they enter to Joseph Black Building to inform them of his/her location in the building and the expected duration of the visit. The researcher should telephone Security again to check out when he/she is about to leave Joseph Black Building. (If you neglect to do this you will initiate a search).

- OVERNIGHT OPERATIONS

This type of work should be kept to a minimum, but if there is a requirement, the following precautions must be taken:

- The experiment must have a label beside it giving details of the reaction and the 	chemical risk.

- An “Overnight Experiment” label must be placed on the laboratory door.

- Both labels should be signed and dated by the supervisor or a representative of 	academic staff of similar status who must in person inspect the apparatus before 	signing.

- For water cooling, use only permanent hose, thick walled neoprene rubber,

or strong plastic tubing, and secure by clips, not wire. (See “Utilities”).

- Enter details of the type of reaction taking place and its location in the Overnight Experiment Book at the Janitors' Box.

- The electricity to experiments not covered by such a form may be SWITCHED OFF.

- Redundant or out-of-date overnight cards must be removed.

- Naked flames MUST NOT be used for unattended experiments.

- Overnight experiment notes must include contact details, be signed and dated.

- Overnight operations cards similar to the one shown below will be used.

- Please Note

1.	Before any equipment is run unattended for an extended period of time, the permission of the appropriate supervisor must be obtained and the appropriate senior member of the technical staff informed.

2.	Print the information clearly.

3.	Fasten the notice to equipment or position it where it is obvious to which equipment it 	refers.

4.	All water connections must be clipped on.

5.	No guarantee can be given that apparatus will be left running, particularly if the	request form is unsigned or dates incorrect.

- Reaction Scheme

(Include all Reagents and Specify Hazards)

- CONTINUOUS OPERATIONS

Equipment continuously supplied with water must have the condition of hoses and pipes checked by a responsible person at least twice a week and a record kept. The location of such equipment must be displayed in a log at the Janitors' Box.

Equipment in continuous operation must be clearly labelled with the following information:

- Name and signature of staff member responsible for the apparatus.

- Action to be taken in the event of a malfunction or emergency must be clearly stated for a non-specialist person's understanding (e.g. Security).

- SECURITY

When there is no janitorial presence, DO NOT allow anyone access to the building using your key fob unless you are certain of their identity. If you are the last person to leave a room or laboratory, lock the door behind you. Do not leave valuables in an unsecured place.

- RADIO/CASETTE PLAYERS

The use of radios or MP3 players, etc, as background noise in laboratories is at the discretion of the PI and should be at a level that allows normal vocal communication. The use of headphones in labs or offices is strictly prohibited as this may hinder emergency procedures eg Fire Alarm.

- SAFETY PRECAUTIONS AND GOOD PRACTICE.

- STORAGE OF CHEMICALS

Glasgow University Health and Safety Note number 96/008 provides common sense information about the safe storage of chemicals in the laboratory. Note in particular:-

- Store like with like. It is essential that incompatible materials are kept apart to prevent dangerous interactions.

- Store only the minimum stock levels of hazardous materials.

- Large, breakable containers, particularly of liquids, should always be kept below shoulder height.

Note the availability of specialist cabinets such as fire-resistant solvent cabinets and vented cabinets, and use them to store the appropriate materials. Fume cupboards are not to be used as storage units! Chemicals should not be stored out-with the laboratories.

Spillages

For more information on dealing with chemical spillages please see the SEPS guidance note, below.

http://www.gla.ac.uk/media/media_173309_en.pdf

When moving solvents around the building, it is important that the proper equipment is used ie winchester carriers. All labs must have a suitable number of these to meet their needs. Bulk orders of solvents in glass winchesters from the Store may only be moved on the deep trolleys provided for this purpose. The use of shallow trolleys to move winchesters is prohibited.

- HANDLING CHEMICALS

The handling of chemicals must be considered as being potentially harmful. Before working with chemicals, it is essential that a COSHH risk assessment is completed so that the risk can be fully understood prior to work commencing. Be sure that you are aware of the toxic properties of the materials and that all appropriate precautions are taken. Avoid direct contact with chemicals and avoid breathing in vapour from solvents or dust from solids. Beware also of increased vapour concentrations where solvents or other toxic materials come into contact with hot liquids, for example during washing up.

- Acids and Corrosive Materials

These materials will destroy living tissue if it is in contact with them for any time. It should also be remembered that, due to the heat of hydration, acids should be added to water when dilution is taking place, rather than the other way round.

- Alkali Metals and Metal Hydrides

Care must be taken when handling these materials due to their vigorous reaction with air and moisture. Where sodium wire or metal hydrides are being used to dry solvents, it is the responsibility of the user to ensure that all of the reagent is destroyed before returning the empty container to the Store. Whenever such a drying agent is introduced into a vessel, a hazard label must be attached. The labels, with the words

“DANGER. Bottle contains .............. drying agent”

printed in red on a yellow background, are obtainable from the stationery store. The identity of the drying agent must be written in. Winchesters will not be returned to the stores until the researcher has written a signed statement across this label to the effect that the drying agent has been properly destroyed and the bottle given a final rinse with water.

The destruction of sodium is best achieved using one of the higher alcohols such as isopropanol. Remember, destruction of the alkali metals produces heat and large quantities of hydrogen gas which may catch fire or explode if the mixture overheats. Similar effects can be seen when using or destroying metal hydrides and related compounds. For this reason, destroy lithium aluminium hydride cautiously with ethyl acetate.

Incomplete hydrolysis of pyrophoric organometallics or hydrides such as LiAlH4 is not uncommon and has led to explosions as well as fires. The problems usually arise because crusts of insoluble material (frequently metal hydroxides) protect pockets of the reagent from the hydrolysing agent, and the turbidity of the mixture prevents observation of this. When the crust is finally broken and excess hydrolysing agent gets through a violent reaction can result. It is therefore vital to ensure complete mixing during such operations, which must always be done with great care.

Note that a simple, safe and economical method of disposing of larger pieces of sodium or potassium metal is described and illustrated in Inorganic Chemistry, 2001, 40, 6855.

- DRY SOLVENT STILLS

In some preparative laboratories communal apparatus has been erected for purifying solvents by distillation from appropriate drying agents (but note alternative procedure below). The stills are usually linked via a common cooling water supply and inert atmosphere system. The following procedures must be adhered to when such systems are used.

- A protocol for the use of each of these facilities should be established. This should form part of the risk assessment process of all users and should be appended to the relevant COSSH risk assessment forms.

- Permanently set up solvent stills is forbidden

- It is essential to ensure that under no circumstances (e.g. as a result of water failure) could a solvent distil into other vessels where it might create a hazard. For example, if chlorinated solvents are introduced into vessels which contain alkali metals as drying agents there is a severe explosion risk. In order to ensure complete isolation of vessels containing non-compatible materials, the nitrogen gas supplies must be arranged where necessary in parallel from a gas-flow divider at the cylinder head.

- There is a need to safeguard against failure of the cooling water supply whilst any of the distillation units are in operation. Installation of a safety cut-out should be used and frequent, regular checks should be made when the apparatus is on.

- It is vital when cleaning out these distillation apparatus, or when disposing of any solvents that have been treated with drying agents, that the drying agents are carefully rendered safe by appropriate means before disposal into the waste solvent receptacles.

- After any distillations under nitrogen or in vacuum, allow the distillation flask to cool before admitting air.

Alternative to Solvent Stills: Solvent Purifier System (SPS).

Two solvent purifier systems have been installed in the School. One is in room C2-03, next to the Chemical Stores, another is in room A3-26b. Note that the systems are fitted with B29 dispensers, adaptors may be required. The following solvents are available: THF, dichloromethane, diethyl ether, acetonitrile, and toluene. Before using the SPS, a person should be trained by an advanced user and be familiar with the Instruction Manual. Importantly! According to Regulations, two people must be present when using the system. Access to these rooms is only granted after training has been signed off. Glassware must be checked for star cracks and only round bottomed flasks should be used. A secondary container (beaker or small box) is also required for transporting the solvent back to the lab. Any questions related to the SPS should be directed to Frank McGeoch/ Debbie Cleary.

- COOLING BATHS

Mixtures of salt and ice (1 part to 3) can achieve temperatures down to about –15°, and a CaCl2.6H2O and ice mix (5:4) can reach –50°. These temperatures are low enough to cause burns, so precautions must be taken to prevent splashing.

- Dry-ice slush baths

(Beware frostbite; wear insulating gloves). Slowly add small lumps of solid CO2 to the organic liquid until no more rapid evaporation takes place. Dry-ice/acetone will reach

–78°. Use plastic vessels or Dewar flasks to avoid burns.

- Liquid nitrogen

- Nitrogen is an odourless, asphyxiant gas, and care must be taken when using it in confined spaces. The risk is particularly high when liquid nitrogen is being decanted or used in confined spaces, since one litre of liquid N2 can rapidly evaporate to about 680 litres of gas. It does not take many litres of liq. N2 to evaporate in a small room to deplete the percentage of oxygen in the atmosphere to below the level at which it can sustain life. Always ensure that there is sufficient ventilation. Further hazards of liquid nitrogen include the risk of cryogenic burns, so skin contact is to be avoided. On standing in air, liquid nitrogen becomes enriched by liquid oxygen, which can present an explosion hazard in contact with organic materials. In order to prevent pressure build-up, containers of liquid nitrogen must never be sealed. SEPS Health and Safety Note number 01/024 on the hazards of liquid nitrogen should be consulted.

- When dispensing liquid nitrogen, insulated gloves and a face shield must be worn. This personal protection equipment is available from stores for use when dispensing from the School dewar. Supervisors should have such PPE available when liquid nitrogen is used in their labs.

- http://www.gla.ac.uk/media/media_173312_en.pdf

- Liquid nitrogen slush baths

Use only fresh liquid nitrogen to protect against forming dangerously explosive liquid O2/organic mixtures. Slowly pour the liquid nitrogen into the organic solvent in a Dewar flask, stirring continuously to prevent formation of a solid crust, until a slush of solid in liquid is obtained. Several organic solvents can be employed: e.g. MeOH down to –98°, n-pentane down to –131°.

After use, allow the baths to warm to room temperature in a fume cupboard, then dispose of the solvent.

- SOME SPECIFIC HAZARDS

- Peroxides in Ethers and Other Solvents

When ethers are exposed to sunlight, peroxides form via abstraction of a hydrogen atom from the carbon  to the oxygen. The reaction proceeds via a stabilised radical, so those ethers that form stabilised radicals are the most prone to peroxide formation, and di-isopropyl ether is the most common example. Peroxides are also readily formed by tetrahydrofuran (THF), and it is well to assume that any ether will form peroxides on standing. Some other solvents also form peroxides.

When such solvents are distilled, high concentrations of the less volatile peroxides build up. These can explode violently. Consequently, no distillations of these solvents should be taken to dryness. Note that when THF is distilled from sodium/benzophenone the upper collection flask is sometimes exposed to sunlight and peroxides have sometimes been detected there despite ostensible maintenance of a nitrogen atmosphere.

One preventative measure is the addition of Linseed Oil (commercially available, e.g. from Aldrich) to the distillation apparatus, which both dilutes the peroxides and reacts with peroxy radicals. This does not provide a carte blanche to raise the distillation temperature significantly, however. Linseed oil has specific hazards of its own and users should be aware of these.

- Irritants and Lachrymators

These must only be handled in the fume cupboard. Empty containers must be thoroughly washed prior to the removal from the cupboard to ensure that all materials are hydrolysed.

- Thiols and Stenches

In all cases, these materials must only be used in a fume cupboard. If using more than 0.1 mole, consider using the Special Operations Laboratory. Experimental design should ensure that no vapour escapes from the apparatus and that all material is oxidised before apparatus is removed from the fume cupboard for cleaning.

ALL SUCH TOXIC (OR OBNOXIOUS SMELLING) CHEMICALS MUST BE RENDERED SAFE (AND ODOURLESS) PRIOR TO DISPOSAL, AND ON NO ACCOUNT MUST SUCH CHEMICALS BE WASHED DOWN SINKS OR PLACED IN WASTE BINS (INSIDE OR OUTSIDE THE CHEMISTRY BUILDING).

For thiols, oxidation with cold aqueous potassium permanganate is adequate; however, take care that no other easily oxidised compounds are present which could react violently with permanganate. Even traces of thiols are sufficient to produce the odour of a gas leak. Accordingly a trap containing aqueous permanganate or bleach should be inserted between a rotary evaporator and its water pump.

- Ozonolysis Reactions

Adhere to the protocol at the ozone generator. The reactions are nearly always carried out at low temperatures (78), at which temperature ozone is blue. Accordingly, when an ozonation is complete the solution becomes blue. It is then necessary to (i) remove the excess ozone (this is done by flushing the reaction vessel with dry nitrogen until the solution becomes colourless), and (ii) decompose the ozonide completely, since ozonides are explosive (this is done by addition of excess Me2S or other reducing agents such as Me3N or Ph3P, and stirring at room temperature overnight; it is imperative to test with starch-iodide paper that all the ozonide has decomposed before proceeding). Further details can be found in “Ozonation”, by P.S.Bailey, Academic Press, 1982 (library, index no. K223), or Organic Synthesis, 5, 489; 52, 135; 56, 36; 60, 63; 64, 150; 65, 183; 71, 214.

- Cyanides  (See rules for Schedule 1 Poisons.)

Anyone working with cyanide MUST have a person trained in oxygen resuscitation (see appendix B) in close proximity to where the work is being carried out. The oxygen resuscitation equipment is kept in a locked cabinet centrally located on level B3, and it will normally be obtained by the trained person prior to work starting. The cabinet is equipped with a key in a break-glass compartment and in emergency this can be used.

Destroy cyanide residues with excess sodium hypochlorite solution by allowing the mixed solution to stand for 24 hours. Ensure that residual bleach remains at the end of the period and then run to waste with a copious supply of water. Make sure that the solution never becomes acidic.

- Hydrofluoric Acid (aqueous solution) and Anhydrous Hydrogen Fluoride

A person trained in the administration of first aid treatment for HF burns (Appendix B) must be in close proximity to the area where work is in progress. Cold running water should be used to treat the burn until the first-aider, trained in its treatment, takes over. Calcium gluconate gel must be kept both in the laboratory and at home by regular users of HF. Note that HF burns on limbs have resulted in amputations and even death. It is essential that full protective clothing (full length PVC coveralls, face shield, PVC gloves) be worn.

- Schedule 1 Poisons

The Poisons Act of 1972 places restrictions on access to certain groups of chemicals. The ones of particular importance to this School are those in Schedule 1. To comply with the Act, any chemical in this category may only be ordered by senior members of the academic or technical staff. That person is then responsible for keeping it in a locked cabinet. The person is responsible for ensuring that it is accounted for and used properly. The full list can be found in the Safety Section of the Library, but some of the more important chemicals are:

- Arsenic compounds

- Barium compounds (other than barium sulphate)

- Cyanides capable of producing hydrogen cyanide

- Lead compounds

- Mercuric compounds

- Organo pesticides and insecticides

- Phosphorus compounds

- Mercury

Poisonous and expensive, it should be used with care. Containers must always be sealed and any spillage must be sucked up using a mercury pipette. Small drops may be frozen with pieces of dry ice then collected. The contaminated area of the spillage should then be treated with the mercury spill kit and instructions followed. The resulting material must then be packaged and handed in for disposal by an appropriate waste contractor. Contact the Senior Technician for your area. A mercury spill kit is available from the Emergency container in B3 corridor (at the janitors).

###### Dimethylmercury

This volatile, highly toxic compound attacks the central nervous system. It readily passes through latex rubber gloves and skin. A spillage of one drop on a gloved hand has been known to cause coma followed by death.

- Perchlorates and Perchloric Acid.

Any trace of perchlorate in contact with organic material constitutes a dangerously explosive mixture, especially if heated. In many cases, alternative materials can be substituted; for example HBF4 can often replace HClO4 as a strong acid, and other non-coordinating anions might be used instead of [ClO4].

- Incompatible Chemicals

Incompatible chemicals should be identified as part of your COSHH Risk Assessment. Take precautions to ensure that they can never be inadvertently mixed.

- Reduction of Nitro Compounds

The catalytic reduction of nitro compounds is strongly exothermic, and should not be carried out on a large scale.

n-Hexane

This substance is a known neurotoxin and a cancer suspect agent. It would be prudent to replace this where possible - for example petroleum mixtures containing less than 2% of this isomer are available. Where it cannot easily be replaced, for example as a chromatography eluent, the vapour should be avoided.

Specialist in depth manuals are available on the safety section of the School website for the following substances:

Diazomethane, Hydrogen Peroxide, Pyrophorics, HF, Ammonia, Hydrogenation, Ozone & UV use.

More general advice is available from your supervisor and/or Dr. David France.

- GOOD LABORATORY PRACTICE

- COSHH

Before commencing practical work, ensure that a COSHH Assessment is complete and up to date.

- Housekeeping and General Advice

- Plan ahead. Before commencing an experiment, you should have a clear idea of everything that is to be done from start to finish. Make sure there is adequate bench space and see that the bench is clean and dry and the gangway is clear. Collect any safety equipment such as blast screens or visors that may be required and note the location of the nearest fire extinguisher. If highly flammable substances are being used, check the area for possible sources of ignition such as lighted Bunsen burners, hot plates, heating mantles.

- In erecting apparatus, care must be taken when using bosses and clamps. The boss should be fixed first with the clamp open. If the cork or rubber layers are missing from the clamp, it should be replaced or, alternatively, a piece of similarly resilient material placed between the clamp and the apparatus. Tighten the clamp carefully making sure that the apparatus is not strained in any way. If it is necessary to loosen the boss to do this, do not allow the weight of the boss and clamp to be taken by the apparatus. Make sure that the equipment is adequately supported and is not top heavy. Laboratory jacks are available and are often very useful in supporting parts of the equipment.

- When erecting apparatus requiring the use of heating mantles, oil baths, etc., you should

not build from the bench up but place the heat source on a lab-jack or similar platform and build up from there. It is much easier to rapidly lower the source of heat to control an overheating reaction than it is to raise the rest of the apparatus assembly.

- Remember that you are concerned with the safety of others as well as your own. If safety (blast) screens are necessary in front of the equipment they will also be necessary at the back if someone is working on the other side of the bench.

- All reaction products should be properly labelled and stored in a safe place. If this is a communal facility, the name of the experimenter should be on the label. Unstoppered vessels, including those containing aqueous solutions, should not be kept in cupboards or refrigerators.

- The stoppers or caps of reagent bottles should be replaced immediately after use, Winchesters of flammable solvents should be returned to the solvent cabinet and the door locked shut.

- Clear up any spillage immediately.

- When using fume cupboards, glove boxes etc. for the secondary containment of dangerous substances, remember to take all necessary precautions before removing contaminated apparatus and “empty” chemical bottles into the open laboratory.

- Remember that the Joseph Black Building is a multi-user building, and its corridors are frequently busy with non-chemists, and even non-science undergraduates who use the lecture theatres. It is essential that no-one is put at risk through the carriage of solvents or dangerous chemicals between laboratories or from the stores. During term time, avoid transporting any such materials at lecture change-over times (between five to and five past the hours). At any times, if the materials would create a hazard if spilt, use a double containment method. This can be as simple as having a large, plastic, screw-top jar in which to place the bottles of chemicals.

- Shelf supports in vented cabinets and other cupboards where chemicals are stored should be checked regularly to ensure that they are secure.

- Labelling

- Label all flasks as they are used and remove old labels when cleaning apparatus.

- Always renew a label. Never amend an old one.

- Products and by-products should have a permanent label attached. These labels should have the chemical name written (not just a formula) and the name or initials of the person who produced it. The appropriate hazard label should be affixed to the container.

- Labels must be placed beside experiments in fume cupboards of multi-user laboratories giving brief details of the reaction, hazards and risk. Similar labels must also be placed beside experimental work in locations remote from the experimenter's normal workplace.

- Use self-adhesive labels only - never lick a gummed label. (Some self-adhesive labels need to be further secured with a clear tape).

- More Common-Sense Measures

- ALL LABCOATS MUST BE 100% COTTON

- It is against the law to eat, chew gum, smoke, drink or apply make-up in the laboratory.

- No one will be allowed to work in laboratories after consuming drugs or alcohol.

- Regard all chemicals and solvents as toxic. Trace impurities in apparently "edible" laboratory materials have caused death!

- For the same reasons, smelling chemicals and gases, especially unknown substances, must be avoided.

- Wear safety glasses and protective clothing at all times. This is a legal requirement.

- Long hair must be securely held back or covered to avoid contact with flames or chemicals.

- Laboratory coats must be left in the laboratory or in a locker, and should not be worn in conference or tea rooms, lecture theatres, toilets or library.

- Never stand on a laboratory stool or chair.

- Always use the correct equipment. Do not improvise or use a makeshift arrangement.

- Do not use anything that is knowingly defective. Have it repaired.

- Keep working surfaces and areas clean and tidy.

- Store chemicals and heavy objects below shoulder level.

- Apparatus not in use should be cleaned and tidied away.

- Air dry or flame out (in a fume cupboard) apparatus, rather than use acetone.

- Inspect all glassware for cracks before use. Broken or chipped bottles or glassware must be taken out of use immediately.

- Lubricate all ground glass joints, when so required for reduced pressure work.

- Ensure all flexible tubing is properly connected, in good condition and free from cracks and cuts.

- Treat sharp edges and points and glass tubing with respect. Do not leave sharp implements on a working surface or loose in a drawer - keep them in a box. Sharp pointed objects must not be carried in a top pocket.

- Be careful opening drawers and close them after use.

- Do not run along corridors.

- Take care when opening or closing laboratory doors.

- Use a carrying basket when moving Winchesters to and from the laboratory. Do not carry Winchester bottles of ether etc. containing sodium wire over wet floors.

- Always wear suitable footwear. All footwear should be enclosed, ie, no open toed sandals etc.

- Wherever possible appropriate clothing should be worn, ensure bare legs are covered and minimise the use of synthetic material. Natural fibres offer better protection against flash burns and solvent spills.

- Place electric cables where they cannot be snagged or cause anyone to trip (including yourself) or pull over the equipment to which they are connected.

- Make sure that cables, hoses etc., are not in contact with the heating surfaces of stirrer hotplates or heating mantles.

- Do not use or operate equipment with which you are not familiar. Seek advice or training. Always follow the manufacturer’s instructions.

- Always switch off and unplug before cleaning, adjusting or changing parts of a machine or equipment, and when not in use.

- It is an offence to interfere with equipment and devices provided for safety. Make sure all safeguards are in position. Safety devices must be inspected annually and records kept.

- Appropriate protective gloves should be worn when handling dangerous materials or strong cleaning agents.

- Use only proprietary cleaning agents unless directed specifically by your supervisor.

- Solvents must not be used to remove contamination from the hands as some substances can produce toxic effects by skin absorption.

- Dewar vessels must be taped or enclosed, and those used to transport contents to laboratories must be encased.

- Always keep back-up copies of your laboratory notebook and other important data, spectra, etc. in a separate location (preferably not in the building). There is always a risk of loss of valuable data from floods and fires.

- Many chemicals are delivered in bottles inside sealed metal canisters. It should be remembered that any leakage inside the canister might lead to a pressure build-up. In particular, when moisture-sensitive compounds are delivered in sealed canisters, either they should be opened within a few days, or the lid punctured to prevent pressure build up. The initial puncturing of any of these canisters should be done at arms length, preferably in a fume cupboard, and (of course) wearing safety glasses.

- Be aware of the effects of strong sunlight (even in Glasgow!) on chemicals. For example, some years ago several distillations of diazomethane/ether solutions were successfully carried out by standard procedures in December, but in April with strong sunlight shining directly onto the condenser and receiving flask a violent explosion occurred. (See also the section on Peroxides in Ethers). Note that a spherical flask of liquid can act as a focussing lens.

- The electrical heating elements in hot air blowers operate above the auto-ignition point of many organic solvents, even when a high airflow is selected. Care must therefore be taken not to use these when organic vapours are around. The use of hot air blowers in fume cupboards and other confined spaces is especially hazardous. Hot air blowers must not be used as a heat source for distillation or re-crystallisation.

- Take care to avoid getting liquid on heating mantles. Water can create a short circuit and electrocution risk. Organic liquids might inflame as the heating coils warm up. Wet or contaminated heating mantles should be cleaned, dried and electrically tested before use.

- The wearing of lab gloves in public areas of the building is prohibited. Should PPE/gloves be required, only one hand should be gloved to carry material. If two gloves are required then the person must be accompanied by someone to open doors etc.

- Gloved hands should never be used to open ANY door, should PPE be required a bare hand must be used or alternatively someone must accompany you to open doors.

LIFTING

When lifting anything heavy, get a good grip, keep your back straight and chin in, bend your knees and have one foot slightly in front of the other, and lift with your leg muscles as you stand up. Move smoothly and do not jerk or twist your body as you lift. Never attempt to move anything that feels too heavy for you or is an awkward shape. If in doubt, get someone to help you. Do not carry a load that obstructs your view or with which you cannot see the stair treads. Further information and advice should be obtained by consulting the Glasgow University Safety Office1996 booklet “Assessment and reduction of risk in manual handling”, a copy of which is kept in the Safety Collection of the Chemistry Branch Library. Synopsis leaflets are also available.

- HANDLING HEAVY LOADS

- Assess the weight - possibly by partly lifting a corner.

- Check that the route for the lift is clear, and if necessary plan rest stops.

- Face the direction of travel.

- Use mechanical aids when these will help - trolleys, skates etc.

- Bend the knees, not the back. Try to keep on a natural line. Do not over-bend.

- Grasp the load firmly and lift smoothly. Avoid bending and twisting.

- Hold the load close to the centre of body.

- Do not change your grip unless the load is supported.

- Make sure that your vision is not obstructed.

- Unload in a similar manner to loading but avoid trapping fingers.

- VISUAL DISPLAY UNITS

The University has published "Safety Standards and Guidance for Visual Display Units" which should be consulted if you work with a VDU on a regular basis. This includes workstations attached to apparatus.

This guidance is at the address below:

http://www.gla.ac.uk/services/seps/az/computers/

- Appendix A

First Aider List, January 2020

First Aider				Ext			Room

Andy Monaghan			6576/8106		A4-24/B2-27/A4-11c

Karen McLachlan			4388			Stores

Harry Moiras				4375			A3-24

Alexander Mungall			2037			C3-10

Holly Yu				7341			C5-09

Finlay Smith				4388			Stores

Gangi Reddy Ubbara			6566			B2-25

Lloyd Henry				6577/6563		A3-06/A4-41

Jessica Walker				6570			A3-25a

Michelle Cariello			2037			C3-10

Fatma Demir Duman			3543			B3-34

Mental Health First Aiders

Holly Yu				7341			C5-09

Jessica Walker				6570			A3-25a

Angela Woolton			7704			A4-27

Oxygen Therapy First Aiders

Lloyd Henry				3543			A3-06/A4-41

Gangi Reddy Ubbara			6566			B2-25

#### Appendix B

- EXPOSURE LIMITS

These are air quality limit values in workplaces set, in this country, by the Health and Safety Executive from ACTS (Advisory Committee on Toxic Substances). For more guidance please see the link below:

http://www.hse.gov.uk/coshh/basics/exposurelimits.htm

- Exposure limits are referred to by various governmental institutions in different ways e.g.

MAC 		Maximum Allowable Concentration

TLV		Threshold Limit Value

OECL		Occupational Exposure Control Limit

In this country at present, the essential limits are termed:

WEL (Workplace Exposure Limit). WELs replaced OESs and MELs as part of C.O.S.H.H. amendments in 2004. WELs are numerically equivalent to the old OESs and MELs, previous risk assessments should still be regarded as valid.

- MEL ( Maximum Exposure Limit )

- OES ( Occupational Exposure Standards).

These are usually based on a time weighted average (TWA) atmospheric concentration over an 8 hour period.

- Short term exposure limits (STEL) are usually based on a 10 minute exposure period.

Atmospheric concentrations are usually quoted in parts per million for gases and vapours (ppm). At 25°C:

mg m-3 = MW  ppm

24.44			(MW = molecular weight)

- For certain dusts and fibres, particles per cubic foot (ppcf) or fibres per millilitre may be used.

A list of Workplacel Exposure Limits and explanatory information is given in The Health and Safety Executive Guidance Note EH40 which is reviewed and updated annually. A copy is kept in the Safety section of the Chemistry Branch Library.

- Appendix C

- GLOSSARY OF SAFETY TERMS

WEL		Workplace Exposure Limits

These are set out by the Health and Safety Executive in guideline EH40, Workplace Exposure Limits in order to help protect the health of workers. WELs are concentrations of hazardous substances in the air, averaged over a specified period of time referred to as a time weighted average (TWA). Two time periods are used: Long term (8hours) and short term (15minutes). Short term exposure limite (STELs) are set to help prevent effects, such as eye irritation, which may occur following exposure for a few minutes.

WELs are numerically equivalent to the old OESs and MELs. Previous risk assessments which quote these Occupational Exposure Limits should still be regarded as valid.

OES		Occupational Exposure Standards (Now replaced with WELs)

These are the levels set out by the Health and Safety Executive to which people may be exposed during a normal working lifetime without any adverse effect to their health. This normally implies an 8 hour day, 40 hour week. Occasionally a Short Term Exposure Limit, STEL, is quoted for 15 minute exposures.

MEL		Maximum Exposure Limit (Now replaced with WELs)

These may be set for substances which may cause serious health effects and for which no "safe" level can be determined. They may also be set for substances for which, although safe levels exist, control to those levels is not reasonably practicable. Limiting concentrations allowed are for short exposures. These levels should never be exceeded.

TLV		Threshold Limiting Values

These levels are set by the American Conference of Governmental Industrial Hygienists. They are quoted in many publications and in all American publications. They have the same effect as the Occupational Exposure Standard set out above and are quoted for both long-term and short-term.

MAC		Maximum Allowable Concentrations

These are the equivalent of the Maximum Exposure Limit

Flash Point 	This is the lowest temperature at which a chemical will, in the presence of air and an ignition source, ignite. It may be quoted for closed or open cup.

Lachrymator	Substances which will attack and irritate the eyes and mucous membranes.

Sensitiser	These are compounds which can cause an allergy or hypersensitivity if a further 		exposure occurs.

Synergists	Synergists are compounds which, while in themselves may be inactive or 		weakly active, can greatly enhance the activity of other compounds present in the system.

Carcinogens	Substances known to cause the development of malignant cells in animals.

Mutagens	Chemicals substances or physical agents which raise the frequency of mutation greatly above the normal level. Many chemical mutagens are carcinogens.

Teratogens	Agents which, in pregnancy, produce or induce a physical or functional defect 		in the embryo, foetus or offspring.

Pyrophoric	Substances which are often spontaneously flammable when exposed to the 			atmosphere are termed pyrophoric.

LD50		Lethal Dose 50.

It is the lethal dose administered in a single unit which will kill 50% of a population of test animals, normally rats. It is usually quoted for both male and female, based on a 1 kg body weight. Three versions of the LD50 value are normally quoted:

Inhalation - normally expressed as a concentration per litre of air over a 4 hour period.

Oral -	Value is for a single dose.

Dermal -The material is applied to the shaved skin of the animal.

#### Appendix D

- WEL VALUES FOR SOME COMMON SOLVENTS

| Substance | TWA (8h) ppm | STEL (15min) ppm | Primary Hazard(s) |
| --- | --- | --- | --- |
| Acetic acid | 10 | 20 | Flammable, corrosive |
| Acetone | 500 | 1500 | Flammable, irritant |
| Acetonitrile | 40 | 60 | Flammable, irritant |
| Benzene | 1 | - | Flammable, irritant, carcinogenic |
| Butane-2-one (MEK) | 200 | 300 | Flammable, irritant |
| Carbon tetrachloride | 1 | 5 | Toxic, suspected carcinogen |
| Chloroform | 2 | - | Toxic, suspected carcinogen |
| Dichloromethane | 100 | - | Irritant, suspected carcinogen |
| Diethyl ether | 100 | 200 | Flammable, harmful |
| Dimethylformamide (DMF) | 5 | 10 | Flammable, harmful, reproductive toxin |
| 1,4-dioxane | 20 | - | Flammable, irritant, suspected carcinogen |
| Ethanol | 1000 | - | Flammable, irritant |
| Ethyl acetate | 200 | 400 | Flammable, irritant |
| Formic acid | 5 | - | Flammable, corrosive, harmful |
| n-Hexane | 20 | - | Flammable, toxic |
| Methanol | 200 | 250 | Flammable, irritant, toxic |
| Nitromethane | 100 | 150 | Flammable, harmful, suspected carcinogen |
| Pentane | 600 | - | Flammable, toxic |
| Petroleum spirits | - | - | Flammable, irritant, toxic |
| Propan-1-ol | 200 | 250 | Flammable, irritant |
| Propan-2-ol (isopropanol) | 400 | 500 | Flammable, irritant |
| Pyridine | 5 | 10 | Flammable, irritant |
| Tetrahydrofuran (THF) | 50 | 100 | Flammable, irritant, suspected carcinogen |
| Toluene | 50 | 100 | Flammable, irritant, reproductive toxin |
| 1,1,1-Trichloroethane | 100 | 200 | Irritant, suspected carcinogen |
| Xylenes | 50 | 100 | Flammable, irritant |

- Appendix E

#### LABORATORY RESPONSIBLE PERSONS LIST

##### All Principal Investigators or nominees are responsible for their research areas; where areas are shared a single person should be identified as having responsibility for that lab or area. The name of the responsible person should be available on the inside of each room and this person will also be responsible for completion of the informal safety audit.

- Teaching, Services, etc.

R. Slavin		All teaching labs

G. Ubarra Reddi	 	Micro-analytical Laboratories

A. Monaghan		Mass Spectrometry

A. Mungall		NMR Spectroscopy

H. Yu		C5 lab areas

………………………		SPS service/Synthesis research labs

J. Gallagher		EM

F. Smith		Stores, cylinder pound and all waste areas/stores

Dr. C. Wilson		School XRD rooms

#### Appendix F

SCHEDULE 1 CHEMICAL WARFARE AGENTS

A. TOXIC CHEMICALS

1 O-Alkyl (C10, incl cycloalkyl) alkyl (Me, Et, n-Pr or i-Pr)- phosphonofluoridates

eg Sarin: O-lsopropyl methylphosphonofluoridate

Soman: O-Pinacolyl methylphosphonofluoridate

2. O-Alkyl (C10, incl cycloalkyl) N,N-dialkyl (Me, Et, n-Pr or i-Pr) phosphoramidocyanidates

eg Tabun: O-Ethyl N,N-dimethyl phosphoramidocyanidate

3. O-Alkyl (H or C10, incl cycloalkyl) S-2-dialkyl (Me, Et, n-Pr or i-Pr)-aminoethyl alkyl

(Me, Et, n-Pr or i-Pr) phosphonothiolates and corresponding alkylated or protonated salts.

eg VX: O-Ethyl S-2-diisopropylaminoethyl methyl phosphonothiolate

4. Sulfur mustards:

2-Chloroethylchloromethylsulfide

Mustard gas: Bis(2-chloroethyl)sulfide

Bis(2-chloroethylthio)methane

Sesquimustard:	1 ,2-Bis(2-chloroethylthio)ethane

1,3-Bis(2-chloroethylthio)-n-propane

1,4-Bis(2-chloroethylthio)-n-butane

1,5-Bis(2-chloroethylthio)-n-pentane

Bis(2-chlorethylthiomethyl)ether

O-Mustard: Bis(2-chloroethylthioethyl)ether

5. Lewisites:

Lewisite 1: 2-Chlorovinyldichloroarsine

Lewisite 2: Bis(2-chlorovinyl)chloroarsine

Lewisite 3: Tris(2-chlorovinyl)arsine

6. Nitrogen mustards:

HN1:	Bis(2-chloroethyl)ethylamine

HN2:	Bis(2-chloroethyl)methylamine

HN3:	Tris(2-chloroethyl)amine

7. Saxitoxin

8.	 Ricin

# B. PRECURSORS

9. Alkyl (Me, Et, n-Pr or i-Pr) phosphonyldifluorides

eg DF: Methylphosphonyldifluoride

10. O-Alkyl (H or C10, incl cycloalkyl) O-2-dialky (Me, Et, n-Pr or i-Pr)-aminoethyl alkyl (Me, Et, n-Pr or i-Pr) phosphonites and corresponding alkylated or protonated salts

eg QL: O-Ethyl O-2-diisopropylaminoethyl methylphosphonite

11. Chlorosarin: O-Isopropyl methylphosphonochloridate

12. Chlorosoman: O-Pinacolyl methylphosphonochloridate

Legislation requires that an annual return of all purchases of Schedule 1 chemical warfare agents and precursors is made to the Home Office for orders during the period 1st January to 31st December during any calendar year. For this reason the Safety Coordinator must be informed of any such purchases.

Appendix G

Drug Precursor Legislation 273/2004

Scheduled substances within the meaning of Article 2(a)

CATEGORY 1

| Substance | CN designation (if different) | CN code | CAS No (2) |
| --- | --- | --- | --- |
| 1-phenyl-2-propanone | Phenylacetone | 2914 31 00 | 103-79-7 |
| N-acetylanthranilic acid | 2-acetamidobenzoic acid | 2924 23 00 | 89-52-1 |
| Isosafrol (cis + trans) |  | 2932 91 00 | 120-58-1 |
| 3,4-methylenedioxyphenyl-propan-2-one | 1-(1,3-Benzodioxol-5-yl)propan-2-one | 2932 92 00 | 4676-39-5 |
| Piperonal |  | 2932 93 00 | 120-57-0 |
| Safrole |  | 2932 94 00 | 94-59-7 |
| Ephedrine |  | 2939 41 00 | 299-42-3 |
| Pseudoephedrine |  | 2939 42 00 | 90-82-4 |
| Norephedrine |  | ex 2939 49 00 | 14838-15-4 |
| Ergometrine |  | 2939 61 00 | 60-79-7 |
| Ergotamine |  | 2939 62 00 | 113-15-5 |
| Lysergic acid |  | 2939 63 00 | 82-58-6 |
| The stereoisomeric forms of the substances listed in this category not being cathine (3), whenever the existence of such forms is possible. |  |  |  |
| The salts of the substances listed in this category, whenever the existence of such salts is possible and not being the salts of cathine. |  |  |  |
| (3) Also named (+)-norpseudoephedrine, CN code 2939 43 00, CAS No 492-39-7. |  |  |  |
| CATEGORY 2 |  |  |  |
| Substance | CN designation (if different) | CN code (1) | CAS No (2) |
| Acetic anhydride |  | 2915 24 00 | 108-24-7 |
| Phenylacetic acid |  | 2916 34 00 | 103-82-2 |
| Anthranilic acid |  | 2922 43 00 | 118-92-3 |
| Piperidine |  | 2933 32 00 | 110-89-4 |
| Potassium permanganate |  | 2841 61 00 | 7722-64-7 |
| The salts of the substances listed in this category, whenever the existence of such salts is possible. |  |  |  |
| (1) OJ L 290, 28.10.2002, p.1. (2) The CAS No is the ‘chemical abstracts service registry number’, which is a unique numeric identifier specific to each substance and its structure. The CAS No is specific to each isomer and to each salt of each isomer. It must be understood that the CAS Nos for the salts of the substances listed above will be different to those given. |  |  |  |

Legislation requires that an annual return of all purchases of Category 1 and 2 drug precursors is made to the Home Office for orders during the period 1st January to 31st December during any calendar year. For this reason the Safety Coordinator must be informed of any such purchase.

APPENDIX H

PLEASE COMPLETE AND RETURN TO THE SCHOOL SAFETY COORDINATOR

I have received a copy of Glasgow University, School of Chemistry Safety Manual and I agree to comply with the instructions therein

Name:------------------------------------------------------------------------------------------------------

Signed:-----------------------------------------------------------------------------------------------------

- SCHOOL SAFETY CODE

- SAFETY WITHIN THE SCHOOL

IS THE RESONSIBILITY OF

EACH AND EVERY INDIVIDUAL

MEMBER

- ACCIDENTS DO NOT JUST HAPPEN….

- ….THEY ARE ALWAYS CAUSED

Appendix J

School of Chemistry Safety Committee (2022)

Prof Justin Hargreaves – Chair, Head of School

Dr Gordon Hedley – Laser Safety Officer

Dr Stuart Caldwell – Postdoctoral Member

Miss Nicola Fairbairn – Post Graduate Rep

Dr Adrian Lapthorn – Biological Safety Member

Dr De-Liang Long – Complex Chemistry Member

Mr Andrew Monaghan – Radiation Officer

Mr Philip Rodgers - SEPS

Mr Lloyd Henry – Senior Teaching Technician

Dr Alistair Boyer – Chemical Biology and Medicinal Chemistry (CBMC) Rep

Mr Ross Slavin – Technical Manager

Mr John Liddell – Area Fire Officer

Mrs Carol-Anne Smith – ARC Technical Operations Manager

Finlay Smith – Chemistry Stores / Waste disposal

Mrs Indira Gray – minutes