|  | Compressed Gas Cylinder Store Inspection |  |  |  |
| --- | --- | --- | --- | --- |
| School / Service / Unit |  |  |  |  |
| Building / Location |  |  |  |  |
| Responsible Person |  |  |  |  |
| Safety Coordinator |  |  |  |  |
| Condition of the storage facility |  |  |  |  |
|  |  | Yes / No | Comments / proposed Actions |  |
| Cylinder store fully secured against unauthorised access? Please specify any security measures in place. |  |  |  |  |
| Is the correct hazard signage present at the point(s) of entry and in good condition? |  |  |  |  |
| Is the cylinder store in good condition? Consider damage to floors and roofs, integrity of fences and gates, lighting etc. |  |  |  |  |
| Is the store sufficiently well ventilated to ensure that any accidental gas releases are quickly dispersed? |  |  |  |  |
| Is the cylinder store easily accessible with suitable means of access and egress for users and cylinder trolleys? |  |  |  |  |
| Is the store large enough to allow cylinders to be safely manipulated onto and off trolleys and moved around safely? |  |  |  |  |
| Is the cylinder storage area large enough for the number of cylinders present allowing for normal stock levels? |  |  |  |  |
| Is the housekeeping in the store acceptable with no evidence of inappropriate storage or rubbish present? |  |  |  |  |
| Cylinders and Equipment |  |  |  |  |
|  |  | Yes / No | Comments / proposed Actions |  |
| Are compressed gas cylinders segregated into hazard groups with incompatible cylinders stored in separate areas? |  |  |  |  |
| Does the cylinder store contain LPG (it is good practice to store LPG separately from other gases)? |  |  |  |  |
| Are cylinders clearly labelled /tagged with the owner of the cylinder (e.g. PI) and are empty cylinders for return clearly labelled? |  |  |  |  |
| Are empty cylinders stored in a dedicated area physically separated from full cylinders? |  |  |  |  |
| Is the housekeeping in the store acceptable with no evidence of inappropriate storage or rubbish present? |  |  |  |  |
| Are all compressed gas cylinders properly secured using chains or suitable securing straps? |  |  |  |  |
| Are any cylinders stored in the area with regulators attached? |  |  |  |  |
| Are all cylinders clearly identified with their contents? |  |  |  |  |
| Are cylinder users provided with appropriate PPE including eye protection, lab coats or equivalent, gloves and protective footwear? |  |  |  |  |
| Are suitable cylinder trolleys present and found to be in good condition and regularly inspected? |  |  |  |  |
| Is an inventory available of the cylinder storage area? |  |  |  |  |
| Procedures and risk assessment |  |  |  |  |
|  |  | Yes / No | Comments / proposed Actions |  |
| Has the cylinder store (and associated activities) been properly risk assessed to ensure the safety of users? |  |  |  |  |
| Is there a Standard Operating Procedure (SOP) covering use of the cylinder store including safe transportation of cylinders. |  |  |  |  |
| Have cylinder store users been provided with appropriate health and safety training? |  |  |  |  |
| Have cylinder store users been provided with appropriate manual handling training? |  |  |  |  |
| Current Inventory of Gas Cylinders |  |  |  |  |
| Contents of Cylinder |  | Number | Type (e.g. EVOS) | Comments |
| Other Notes and Comments |  |  |  |  |
| Inspection Completed By |  |  |  |  |
| Name |  |  |  |  |
| Position |  |  |  |  |
| E-mail |  |  |  |  |
| Date of inspection |  |  |  |  |
| Date of next inspection |  |  |  |  |